## Disclaimer
Disclaimer of completeness and accuracy of data provided to evaluate slice product
The information contained in this spreadsheet or report was queried from a database. Chelan PUD disclaims any warranty or representation that this information is completely accurate. Individual entries in the database may contain inaccuracies that could be reflected in this information. If you have any questions, please call Janet Jaspers: janet.jaspers@chelanpud.org or Mike Bradshaw: mike.bradshaw@chelanpud.org

## RR
Rocky Reach Forced (unplanned) outages
> 5 hour duration
Jan 1, 2012 through Dec 31, 2022
ID | Year | Hydro | Unit | Reason | Date Off | Date On | Duration Hours | Multiyear
489047 | 2012 | RR | C6 | 7000 - Shaft B | 2012-07-29 13:39 | 2012-07-29 20:28 | 7 | 0
489056 | 2012 | RR | C5 | 3613 - Switchyard system protection devices - (not outside management control) | 2012-08-13 16:12 | 2012-08-14 14:52 | 23 | 0
489064 | 2012 | RR | C1 | 9696 - Other miscellaneous operational environmental limits (hydro and PS) | 2012-08-20 11:05 | 2012-08-23 22:00 | 83 | 0
489062 | 2012 | RR | C2 | 9696 - Other miscellaneous operational environmental limits (hydro and PS) | 2012-08-20 11:05 | 2012-08-22 15:22 | 52 | 0
489065 | 2012 | RR | C2 | 9696 - Other miscellaneous operational environmental limits (hydro and PS) | 2012-08-22 15:23 | 2012-08-24 03:10 | 36 | 0
489073 | 2012 | RR | C2 | 9696 - Other miscellaneous operational environmental limits (hydro and PS) | 2012-08-28 14:40 | 2012-08-29 11:43 | 21 | 0
489133 | 2012 | RR | C7 | 3620 - Main transformer | 2012-10-09 14:50 | 2012-10-25 20:30 | 390 | 0
489150 | 2012 | RR | C8 | 4720 - Generator synchronization equipment | 2012-11-16 17:09 | 2012-11-16 23:35 | 6 | 0
1170715 | 2013 | RR | C10 | 7052 - Other turbine control problems (Report specific wicket gate controls; etc. using the code for the appropriate equipment item.) | 2013-03-25 21:29 | 2013-03-26 08:50 | 11 | 0
1167406 | 2013 | RR | C1 | 7110 - Intake channel or flume (including trash racks) | 2013-08-07 13:15 | 2013-08-08 03:10 | 14 | 0
1167407 | 2013 | RR | C1 | 7110 - Intake channel or flume (including trash racks) | 2013-08-08 13:35 | 2013-08-09 07:16 | 18 | 0
1153031 | 2013 | RR | C7 | 4600 - Exciter drive - motor | 2013-12-01 16:50 | 2013-12-02 14:00 | 21 | 0
1344622 | 2014 | RR | C4 | 3899 - Other miscellaneous auxiliary system problems | 2014-02-14 06:10 | 2014-02-17 06:22 | 72 | 0
1344668 | 2014 | RR | C9 | 9320 - Other miscellaneous external problems | 2014-03-02 23:55 | 2014-03-03 06:58 | 7 | 0
1344671 | 2014 | RR | C9 | 9320 - Other miscellaneous external problems | 2014-03-03 22:57 | 2014-03-04 06:10 | 7 | 0
1344680 | 2014 | RR | C1 | 7110 - Intake channel or flume (including trash racks) | 2014-03-12 08:37 | 2014-03-12 14:09 | 6 | 0
1518461 | 2014 | RR | C7 | 3620 - Main transformer | 2014-05-15 07:00 | 2014-05-18 07:10 | 72 | 0
1516089 | 2014 | RR | C1 | 4500 - Rotor windings (including damper windings and fan blades on hydro units) | 2014-05-29 19:42 | 2014-05-30 14:11 | 18 | 0
1720252 | 2014 | RR | C6 | 7009 - Bearing Oil System | 2014-08-09 16:31 | 2014-08-09 22:32 | 6 | 0
1938948 | 2014 | RR | C4 | 7007 - Bearings A | 2014-10-09 07:10 | 2014-10-10 22:30 | 39 | 0
1938952 | 2014 | RR | C3 | 7053 - Governor Oil System | 2014-10-15 21:00 | 2014-10-16 23:59 | 27 | 0
1938947 | 2014 | RR | C9 | 7009 - Bearing Oil System | 2014-11-12 06:10 | 2014-11-18 16:50 | 155 | 0
1938953 | 2014 | RR | C3 | 4600 - Exciter drive - motor | 2014-11-21 06:50 | 2014-11-22 23:59 | 41 | 0
1938954 | 2014 | RR | C3 | 7009 - Bearing Oil System | 2014-11-28 09:47 | 2014-11-28 23:59 | 14 | 0
2148910 | 2015 | RR | C8 | 4520 - Stator windings; bushings; and terminals | 2015-01-21 18:38 | 2015-12-31 23:59 | 8261 | 0
2755695 | 2015 | RR | C2 | 7110 - Intake channel or flume (including trash racks) | 2015-03-26 10:10 | 2015-03-26 15:50 | 6 | 0
2753280 | 2015 | RR | C4 | 7053 - Governor Oil System | 2015-04-30 07:10 | 2015-05-01 18:37 | 35 | 0
2755697 | 2015 | RR | C10 | 4520 - Stator windings; bushings; and terminals | 2015-06-24 19:17 | 2015-12-31 23:59 | 4566 | 0
2751701 | 2015 | RR | C6 | 4600 - Exciter drive - motor | 2015-08-06 15:24 | 2015-08-28 16:18 | 529 | 0
2751707 | 2015 | RR | C6 | 7030 - Vibration (Only for unbalance; report bearing failure; etc. in appropriate category) | 2015-09-22 08:10 | 2015-09-22 15:18 | 7 | 0
2689051 | 2015 | RR | C6 | 3641 - AC Circuit breakers | 2015-10-21 15:03 | 2015-10-22 13:08 | 22 | 0
2689038 | 2015 | RR | C3 | 3620 - Main transformer | 2015-11-06 07:10 | 2015-11-06 16:20 | 9 | 0
2689022 | 2015 | RR | C2 | 7053 - Governor Oil System | 2015-12-04 16:51 | 2015-12-11 16:05 | 167 | 0
2689318 | 2015 | RR | C4 | 4600 - Exciter drive - motor | 2015-12-24 06:14 | 2015-12-24 14:29 | 8 | 0
3309535 | 2016 | RR | C8 | 4520 - Stator windings; bushings; and terminals | 2016-01-01 00:01 | 2016-12-31 23:59 | 8784 | 0
3309537 | 2016 | RR | C10 | 4520 - Stator windings; bushings; and terminals | 2016-01-01 00:01 | 2016-11-17 07:28 | 7711 | 0
2921399 | 2016 | RR | C1 | 3898 - Miscellaneous plant auxiliary process and services instrumentation and controls | 2016-03-02 06:30 | 2016-03-07 07:10 | 121 | 0
3309525 | 2016 | RR | C5 | 4550 - Generator bearings and lube oil system (including thrust bearings on hydro units) | 2016-10-12 10:01 | 2016-12-02 14:02 | 1229 | 0
3493192 | 2016 | RR | C10 | 7009 - Bearing Oil System | 2016-11-22 08:11 | 2016-11-22 16:50 | 9 | 0
3493246 | 2016 | RR | C11 | 4500 - Rotor windings (including damper windings and fan blades on hydro units) | 2016-11-27 06:29 | 2016-12-31 23:59 | 834 | 0
3644501 | 2017 | RR | C8 | 4520 - Stator windings; bushings; and terminals | 2017-01-01 00:01 | 2017-12-13 09:19 | 8313 | 0
3644502 | 2017 | RR | C9 | 4520 - Stator windings; bushings; and terminals | 2017-01-01 00:01 | 2017-04-28 13:59 | 2821 | 0
3644480 | 2017 | RR | C11 | 4500 - Rotor windings (including damper windings and fan blades on hydro units) | 2017-01-01 00:01 | 2017-01-26 06:10 | 606 | 0
3753115 | 2017 | RR | C1 | 7110 - Intake channel or flume (including trash racks) | 2017-04-21 07:14 | 2017-04-21 13:55 | 7 | 0
3753131 | 2017 | RR | C1 | 4500 - Rotor windings (including damper windings and fan blades on hydro units) | 2017-05-05 14:18 | 2017-05-09 19:08 | 101 | 0
3753173 | 2017 | RR | C5 | 7050 - Turbine governor | 2017-06-23 22:44 | 2017-06-24 09:31 | 11 | 0
3930832 | 2017 | RR | C2 | 7110 - Intake channel or flume (including trash racks) | 2017-08-11 01:03 | 2017-08-11 14:50 | 14 | 0
3930833 | 2017 | RR | C1 | 7110 - Intake channel or flume (including trash racks) | 2017-08-31 03:00 | 2017-08-31 09:33 | 7 | 0
4001083 | 2017 | RR | C2 | 7110 - Intake channel or flume (including trash racks) | 2017-08-31 04:20 | 2017-08-31 09:41 | 5 | 0
4001081 | 2017 | RR | C1 | 7110 - Intake channel or flume (including trash racks) | 2017-09-08 03:00 | 2017-09-08 09:33 | 7 | 0
4001085 | 2017 | RR | C2 | 7110 - Intake channel or flume (including trash racks) | 2017-09-08 03:00 | 2017-09-08 09:34 | 7 | 0
4001088 | 2017 | RR | C3 | 7110 - Intake channel or flume (including trash racks) | 2017-09-08 03:00 | 2017-09-08 08:05 | 5 | 0
4001082 | 2017 | RR | C1 | 7110 - Intake channel or flume (including trash racks) | 2017-09-14 03:11 | 2017-09-14 13:45 | 11 | 0
4001086 | 2017 | RR | C2 | 7110 - Intake channel or flume (including trash racks) | 2017-09-14 03:12 | 2017-09-14 13:46 | 11 | 0
4001089 | 2017 | RR | C3 | 7110 - Intake channel or flume (including trash racks) | 2017-09-14 03:13 | 2017-09-14 10:41 | 7 | 0
4001100 | 2017 | RR | C9 | 7050 - Turbine governor | 2017-10-18 09:51 | 2017-10-29 00:01 | 254 | 0
4101121 | 2017 | RR | C1 | 4602 - Exciter commutator and brushes | 2017-11-06 10:59 | 2017-11-10 17:00 | 102 | 0
4101148 | 2017 | RR | C7 | 4520 - Stator windings; bushings; and terminals | 2017-11-15 07:10 | 2017-11-17 16:50 | 58 | 0
4101156 | 2017 | RR | C9 | 4830 - Major overhaul (720 hrs or longer) (use for non-specific overhaul only; see page B-1) | 2017-11-27 06:10 | 2017-12-31 23:59 | 834 | 0
4101152 | 2017 | RR | C7 | 7141 - Wicket gate operating mechanism or positioner | 2017-12-01 09:07 | 2017-12-01 16:19 | 7 | 0
4101155 | 2017 | RR | C8 | 4520 - Stator windings; bushings; and terminals | 2017-12-13 16:00 | 2017-12-15 14:00 | 46 | 0
4264689 | 2018 | RR | C9 | 4830 - Major overhaul (720 hrs or longer) (use for non-specific overhaul only; see page B-1) | 2018-01-01 | 2018-12-31 23:59 | 8760 | 1
4264691 | 2018 | RR | C2 | 7001 - Shaft packing | 2018-01-05 06:10 | 2018-01-05 23:28 | 17 | 0
4263405 | 2018 | RR | C1 | 4840 - Inspection E | 2018-01-16 09:45 | 2018-10-04 16:09 | 6269 | 0
4264884 | 2018 | RR | C2 | 3642 - AC Conductors and buses | 2018-02-15 07:02 | 2018-02-18 12:15 | 77 | 0
4406254 | 2018 | RR | C10 | 7299 - Other miscellaneous hydro turbine/pump problems (use generator codes and balance of plant electrical and auxiliary codes as appropriate) | 2018-05-14 00:03 | 2018-05-14 13:44 | 14 | 0
4406258 | 2018 | RR | C11 | 3869 - Other fire protection system problems | 2018-05-17 19:19 | 2018-05-18 14:51 | 20 | 0
4406265 | 2018 | RR | C8 | 7001 - Shaft packing | 2018-05-25 12:10 | 2018-06-18 11:44 | 576 | 0
4711433 | 2018 | RR | C5 | 3842 - Service air valves | 2018-08-16 09:10 | 2018-08-17 05:22 | 20 | 0
4711440 | 2018 | RR | C11 | 4810 - Generator output breaker | 2018-08-24 08:06 | 2018-08-25 09:17 | 25 | 0
4711449 | 2018 | RR | C7 | 3644 - AC Protection devices | 2018-09-05 17:11 | 2018-09-06 15:15 | 22 | 0
4711458 | 2018 | RR | C2 | 4600 - Exciter drive - motor | 2018-09-28 05:06 | 2018-09-28 11:01 | 6 | 0
4801179 | 2018 | RR | C1 | 7099 - Other turbine problems | 2018-10-05 13:48 | 2018-12-31 23:59 | 2099 | 0
4885322 | 2018 | RR | C10 | 3644 - AC Protection devices | 2018-11-06 17:27 | 2018-11-07 22:23 | 29 | 0
4885463 | 2018 | RR | C2 | 7009 - Bearing Oil System | 2018-12-12 02:07 | 2018-12-12 12:30 | 10 | 0
4885466 | 2018 | RR | C3 | 4540 - Brushes and brush rigging | 2018-12-24 12:15 | 2018-12-31 15:01 | 171 | 0
4885467 | 2018 | RR | C10 | 7142 - Wicket gate shear pin | 2018-12-25 09:40 | 2018-12-26 08:05 | 22 | 0
4921692 | 2019 | RR | C1 | 7099 - Other turbine problems | 2019-01-01 | 2019-12-31 23:59 | 8760 | 1
4921690 | 2019 | RR | C9 | 4830 - Major overhaul (720 hrs or longer) (use for non-specific overhaul only; see page B-1) | 2019-01-01 | 2019-12-31 23:59 | 8760 | 1
5206186 | 2019 | RR | C3 | 9300 - Transmission system problems other than catastrophes (do not include switchyard problems in this category; see codes 3600 to 3629) | 2019-07-22 19:26 | 2019-07-27 08:02 | 109 | 0
5206195 | 2019 | RR | C4 | 3620 - Main transformer | 2019-07-22 19:26 | 2019-07-26 16:20 | 93 | 0
5207196 | 2019 | RR | C6 | 4551 - Generator bearings | 2019-08-28 16:54 | 2019-09-19 10:15 | 521 | 0
5207211 | 2019 | RR | C8 | 7050 - Turbine governor | 2019-09-06 21:21 | 2019-09-11 18:47 | 117 | 0
5207217 | 2019 | RR | C10 | 3618 - Other switchyard equipment ? (not outside management control) | 2019-09-11 07:10 | 2019-09-11 18:05 | 11 | 0
5207219 | 2019 | RR | C11 | 3618 - Other switchyard equipment ? (not outside management control) | 2019-09-11 07:10 | 2019-09-11 18:05 | 11 | 0
5207213 | 2019 | RR | C8 | 7007 - Bearings A | 2019-09-18 07:50 | 2019-10-01 15:33 | 320 | 0
5207207 | 2019 | RR | C7 | 4551 - Generator bearings | 2019-09-27 16:18 | 2019-12-31 23:59 | 2289 | 0
5375976 | 2019 | RR | C2 | 7099 - Other turbine problems | 2019-10-11 15:47 | 2019-12-31 23:59 | 1953 | 0
5376126 | 2019 | RR | C11 | 7099 - Other turbine problems | 2019-10-11 16:19 | 2019-10-18 08:43 | 160 | 0
5376112 | 2019 | RR | C6 | 4550 - Generator bearings and lube oil system (including thrust bearings on hydro units) | 2019-12-18 19:43 | 2019-12-20 15:28 | 44 | 0
5533297 | 2020 | RR | C1 | 7099 - Other turbine problems | 2020-01-01 | 2020-03-13 16:25 | 1743 | 1
5533298 | 2020 | RR | C2 | 7099 - Other turbine problems | 2020-01-01 | 2020-01-24 06:50 | 559 | 1
5533300 | 2020 | RR | C3 | 7099 - Other turbine problems | 2020-01-01 | 2020-02-27 07:34 | 1376 | 1
5533333 | 2020 | RR | C7 | 4560 - Generator vibration (excluding vibration due to failed bearing and other components) | 2020-01-01 | 2020-03-05 | 1536 | 1
5642934 | 2020 | RR | C2 | 9015 - Pandemic | 2020-03-23 15:30 | 2020-04-30 06:00 | 902 | 0
5642936 | 2020 | RR | C7 | 9015 - Pandemic | 2020-03-23 15:30 | 2020-04-30 06:00 | 902 | 0
5538726 | 2020 | RR | C4 | 4550 - Generator bearings and lube oil system (including thrust bearings on hydro units) | 2020-03-28 07:18 | 2020-03-30 12:58 | 54 | 0
5538727 | 2020 | RR | C11 | 7099 - Other turbine problems | 2020-03-28 15:02 | 2020-03-28 23:47 | 9 | 0
5579253 | 2020 | RR | C5 | 7099 - Other turbine problems | 2020-04-10 17:46 | 2020-04-11 10:11 | 16 | 0
5579256 | 2020 | RR | C11 | 7099 - Other turbine problems | 2020-04-24 09:03 | 2020-04-24 15:13 | 6 | 0
5579257 | 2020 | RR | C11 | 7099 - Other turbine problems | 2020-04-28 10:04 | 2020-04-28 16:39 | 7 | 0
5719663 | 2020 | RR | C11 | 7099 - Other turbine problems | 2020-07-22 17:50 | 2020-08-06 11:02 | 353 | 0
5785542 | 2020 | RR | C9 | 3982 - PLC - hardware problems (including card failure) | 2020-09-22 23:13 | 2020-09-23 10:01 | 11 | 0
5786125 | 2020 | RR | C10 | 4551 - Generator bearings | 2020-09-25 09:01 | 2020-09-25 14:32 | 6 | 0
5950796 | 2020 | RR | C5 | 4810 - Generator output breaker | 2020-11-09 21:26 | 2020-11-12 15:28 | 66 | 0
6051585 | 2021 | RR | C9 | 4620 - Air cooling system | 2021-01-21 08:28 | 2021-01-21 14:37 | 6 | 0
6120741 | 2021 | RR | C1 | 4551 - Generator bearings | 2021-02-19 05:46 | 2021-02-19 16:09 | 10 | 0
6123596 | 2021 | RR | C6 | 7050 - Turbine governor | 2021-03-06 21:47 | 2021-03-08 12:58 | 39 | 0
6251011 | 2021 | RR | C4 | 7009 - Bearing Oil System | 2021-05-23 16:22 | 2021-05-23 23:06 | 7 | 0
6402031 | 2021 | RR | C11 | 7099 - Other turbine problems | 2021-07-21 11:55 | 2021-07-29 13:28 | 194 | 0
6402032 | 2021 | RR | C4 | 7099 - Other turbine problems | 2021-07-29 15:45 | 2021-07-30 10:33 | 19 | 0
6402036 | 2021 | RR | C4 | 7099 - Other turbine problems | 2021-07-30 15:28 | 2021-07-30 20:54 | 5 | 0
6402047 | 2021 | RR | C1 | 7110 - Intake channel or flume (including trash racks) | 2021-08-06 14:11 | 2021-08-11 03:00 | 109 | 0
6585984 | 2021 | RR | C7 | 4609 - Other exciter problems | 2021-10-03 15:24 | 2021-10-03 22:57 | 8 | 0
6585989 | 2021 | RR | C7 | 7009 - Bearing Oil System | 2021-10-08 23:14 | 2021-10-09 11:13 | 12 | 0
6586002 | 2021 | RR | C7 | 7009 - Bearing Oil System | 2021-10-20 21:12 | 2021-10-21 08:45 | 12 | 0
6586017 | 2021 | RR | C7 | 7009 - Bearing Oil System | 2021-10-24 07:05 | 2021-10-25 15:28 | 32 | 0
6586039 | 2021 | RR | C3 | 3670 - 12kV transformers | 2021-11-03 07:09 | 2021-11-03 16:36 | 9 | 0
6586054 | 2021 | RR | C5 | 7008 - Bearing cooling system B | 2021-12-24 22:53 | 2021-12-25 10:54 | 12 | 0
6994897 | 2022 | RR | C10 | 7099 - Other turbine problems | 2022-05-07 05:34 | 2022-05-07 17:45 | 12 | 0
7092305 | 2022 | RR | C10 | 7009 - Bearing Oil System | 2022-08-06 01:56 | 2022-08-06 15:54 | 14 | 0
7092324 | 2022 | RR | C3 | 7110 - Intake channel or flume (including trash racks) | 2022-08-23 03:11 | 2022-08-23 11:30 | 8 | 0
7327552 | 2022 | RR | C1 | 7008 - Bearing cooling system B | 2022-10-02 01:31 | 2022-10-02 13:22 | 12 | 0
7327570 | 2022 | RR | C2 | 7008 - Bearing cooling system B | 2022-10-15 23:09 | 2022-10-18 15:25 | 64 | 0
7327684 | 2022 | RR | C11 | 7099 - Other turbine problems | 2022-11-01 17:00 | 2023-01-01 | 1448 | 1
7327617 | 2022 | RR | C10 | 7099 - Other turbine problems | 2022-11-17 05:58 | 2022-12-12 11:11 | 605 | 0
7327606 | 2022 | RR | C6 | 4550 - Generator bearings and lube oil system (including thrust bearings on hydro units) | 2022-12-03 15:12 | 2022-12-03 21:31 | 6 | 0
7327607 | 2022 | RR | C3 | 4550 - Generator bearings and lube oil system (including thrust bearings on hydro units) | 2022-12-05 03:16 | 2022-12-05 13:38 | 10 | 0

## RI
Rock Island Forced (unplanned) outages
> 5 hour duration
Jan 1, 2012 through Dec 31, 2022
ID | Year | Hydro | Unit | Reason | Date Off | Date On | Duration Hours | Multiyear
489005 | 2012 | RI | B6 | 7180 - Tailrace | 2012-01-06 16:05 | 2012-01-09 23:59 | 80 | 0
489188 | 2012 | RI | U7 | 7053 - Governor Oil System | 2012-02-27 21:30 | 2012-02-28 08:00 | 10 | 0
489191 | 2012 | RI | B10 | 4750 - Other generator controls and metering problems | 2012-03-02 06:45 | 2012-03-02 11:50 | 5 | 0
489193 | 2012 | RI | B10 | 4750 - Other generator controls and metering problems | 2012-03-04 15:34 | 2012-03-05 10:57 | 19 | 0
489228 | 2012 | RI | U2 | 7008 - Bearing cooling system B | 2012-04-27 17:33 | 2012-04-28 09:45 | 16 | 0
489028 | 2012 | RI | B10 | 4710 - Generator metering devices | 2012-06-22 01:21 | 2012-06-22 09:44 | 8 | 0
489042 | 2012 | RI | U5 | 7053 - Governor Oil System | 2012-07-12 14:13 | 2012-07-13 15:01 | 25 | 0
489050 | 2012 | RI | B9 | 4899 - Other miscellaneous generator problems | 2012-07-30 10:22 | 2012-07-30 15:42 | 5 | 0
489054 | 2012 | RI | B7 | 7050 - Turbine governor | 2012-08-12 20:52 | 2012-08-13 09:53 | 13 | 0
489070 | 2012 | RI | U3 | 7003 - Lube oil system (use code 7007 to report bearing failures due to lube oil problems) | 2012-08-20 12:54 | 2012-08-28 14:23 | 193 | 0
489076 | 2012 | RI | B1 | 7052 - Other turbine control problems (Report specific wicket gate controls; etc. using the code for the appropriate equipment item.) | 2012-08-30 12:56 | 2012-08-31 13:15 | 24 | 0
489084 | 2012 | RI | U3 | 4750 - Other generator controls and metering problems | 2012-09-09 23:44 | 2012-09-10 13:36 | 14 | 0
489172 | 2012 | RI | B9 | 4590 - Generator brakes | 2012-12-11 23:41 | 2012-12-12 12:05 | 12 | 0
489177 | 2012 | RI | B9 | 4810 - Generator output breaker | 2012-12-14 10:10 | 2012-12-14 17:00 | 7 | 0
489176 | 2012 | RI | B10 | 4810 - Generator output breaker | 2012-12-14 10:10 | 2012-12-14 17:00 | 7 | 0
1167387 | 2013 | RI | B9 | 7053 - Governor Oil System | 2013-02-20 13:47 | 2013-02-21 16:00 | 26 | 0
1173724 | 2013 | RI | U3 | 3862 - Fire protection system valves | 2013-03-10 12:06 | 2013-03-12 15:24 | 51 | 0
1167395 | 2013 | RI | B9 | 9900 - Operator error | 2013-04-24 09:27 | 2013-04-27 11:02 | 74 | 0
1166831 | 2013 | RI | B10 | 4535 - Stator; General | 2013-07-25 07:32 | 2013-07-26 23:59 | 40 | 0
1166824 | 2013 | RI | B1 | 4740 - Emergency generator trip devices | 2013-08-01 00:56 | 2013-08-01 13:32 | 13 | 0
1173733 | 2013 | RI | U5 | 9910 - Maintenance personnel error | 2013-09-12 16:41 | 2013-09-12 22:21 | 6 | 0
1173743 | 2013 | RI | U6 | 9910 - Maintenance personnel error | 2013-09-12 16:43 | 2013-09-12 22:21 | 6 | 0
1161426 | 2013 | RI | U7 | 9910 - Maintenance personnel error | 2013-09-12 16:46 | 2013-09-12 22:21 | 6 | 0
1153034 | 2013 | RI | B6 | 4535 - Stator; General | 2013-09-17 10:13 | 2013-12-05 08:50 | 1896 | 0
1153024 | 2013 | RI | U7 | 4620 - Air cooling system | 2013-11-12 11:14 | 2013-11-12 16:47 | 6 | 0
1176773 | 2014 | RI | B6 | 4750 - Other generator controls and metering problems | 2014-01-02 01:23 | 2014-01-02 08:12 | 7 | 0
1344608 | 2014 | RI | B6 | 4750 - Other generator controls and metering problems | 2014-01-28 01:12 | 2014-01-28 08:21 | 7 | 0
1344609 | 2014 | RI | B6 | 4750 - Other generator controls and metering problems | 2014-01-28 14:49 | 2014-01-29 12:45 | 22 | 0
1344626 | 2014 | RI | B7 | 9320 - Other miscellaneous external problems | 2014-02-27 17:56 | 2014-03-01 14:17 | 44 | 0
1344627 | 2014 | RI | B8 | 9320 - Other miscellaneous external problems | 2014-02-27 17:56 | 2014-03-01 14:18 | 44 | 0
1344628 | 2014 | RI | B5 | 9320 - Other miscellaneous external problems | 2014-02-27 18:00 | 2014-03-01 14:15 | 44 | 0
1344629 | 2014 | RI | B6 | 9320 - Other miscellaneous external problems | 2014-02-27 18:00 | 2014-03-01 14:16 | 44 | 0
1344674 | 2014 | RI | U3 | 9320 - Other miscellaneous external problems | 2014-03-03 01:48 | 2014-03-08 12:06 | 130 | 0
1344675 | 2014 | RI | U4 | 9320 - Other miscellaneous external problems | 2014-03-03 01:48 | 2014-03-08 12:06 | 130 | 0
1344773 | 2014 | RI | B1 | 9320 - Other miscellaneous external problems | 2014-03-03 17:12 | 2014-03-08 12:06 | 115 | 0
1344774 | 2014 | RI | B3 | 9320 - Other miscellaneous external problems | 2014-03-03 17:12 | 2014-03-08 12:06 | 115 | 0
1344775 | 2014 | RI | B4 | 9320 - Other miscellaneous external problems | 2014-03-03 17:12 | 2014-03-08 12:06 | 115 | 0
1344776 | 2014 | RI | B6 | 9320 - Other miscellaneous external problems | 2014-03-03 17:12 | 2014-03-08 12:06 | 115 | 0
1344777 | 2014 | RI | B7 | 9320 - Other miscellaneous external problems | 2014-03-03 17:12 | 2014-03-08 12:06 | 115 | 0
1344778 | 2014 | RI | B8 | 9320 - Other miscellaneous external problems | 2014-03-03 17:12 | 2014-03-08 12:06 | 115 | 0
1344779 | 2014 | RI | B9 | 9320 - Other miscellaneous external problems | 2014-03-03 17:12 | 2014-03-08 12:06 | 115 | 0
1344780 | 2014 | RI | B10 | 9320 - Other miscellaneous external problems | 2014-03-03 17:12 | 2014-03-08 12:06 | 115 | 0
2025863 | 2014 | RI | B5 | 9720 - Other safety problems | 2014-03-03 17:17 | 2014-03-10 10:26 | 160 | 0
1344781 | 2014 | RI | U2 | 9320 - Other miscellaneous external problems | 2014-03-08 17:18 | 2014-03-09 08:02 | 14 | 0
1344782 | 2014 | RI | U3 | 9320 - Other miscellaneous external problems | 2014-03-08 17:18 | 2014-03-09 08:02 | 14 | 0
1344783 | 2014 | RI | U4 | 9320 - Other miscellaneous external problems | 2014-03-08 17:18 | 2014-03-09 08:02 | 14 | 0
1344784 | 2014 | RI | U5 | 9320 - Other miscellaneous external problems | 2014-03-08 17:18 | 2014-03-09 08:02 | 14 | 0
1344785 | 2014 | RI | U6 | 9320 - Other miscellaneous external problems | 2014-03-08 17:18 | 2014-03-09 08:02 | 14 | 0
1344786 | 2014 | RI | U7 | 9320 - Other miscellaneous external problems | 2014-03-08 17:18 | 2014-03-09 13:49 | 20 | 0
1344787 | 2014 | RI | U8 | 9320 - Other miscellaneous external problems | 2014-03-08 17:18 | 2014-03-09 13:49 | 20 | 0
1344788 | 2014 | RI | B1 | 9320 - Other miscellaneous external problems | 2014-03-09 03:31 | 2014-03-14 06:24 | 123 | 0
1344789 | 2014 | RI | B3 | 9320 - Other miscellaneous external problems | 2014-03-09 03:31 | 2014-03-14 06:24 | 123 | 0
1344790 | 2014 | RI | B4 | 9320 - Other miscellaneous external problems | 2014-03-09 03:31 | 2014-03-14 06:24 | 123 | 0
1344791 | 2014 | RI | B6 | 9320 - Other miscellaneous external problems | 2014-03-09 03:31 | 2014-03-14 06:24 | 123 | 0
1344792 | 2014 | RI | B7 | 9320 - Other miscellaneous external problems | 2014-03-09 03:31 | 2014-03-14 06:24 | 123 | 0
1344793 | 2014 | RI | U7 | 9320 - Other miscellaneous external problems | 2014-03-10 07:28 | 2014-03-14 16:26 | 105 | 0
1344794 | 2014 | RI | U8 | 9320 - Other miscellaneous external problems | 2014-03-10 07:28 | 2014-03-14 16:26 | 105 | 0
2025865 | 2014 | RI | B5 | 9720 - Other safety problems | 2014-03-10 16:35 | 2014-03-12 05:20 | 37 | 0
1344692 | 2014 | RI | U7 | 7180 - Tailrace | 2014-03-14 16:32 | 2014-03-30 10:50 | 378 | 0
1344685 | 2014 | RI | B6 | 9320 - Other miscellaneous external problems | 2014-03-14 16:35 | 2014-03-23 18:02 | 217 | 0
1344682 | 2014 | RI | B3 | 7180 - Tailrace | 2014-03-17 14:54 | 2014-03-19 13:52 | 47 | 0
1344812 | 2014 | RI | U2 | 9320 - Other miscellaneous external problems | 2014-03-23 12:00 | 2014-03-23 18:00 | 6 | 0
1344813 | 2014 | RI | U3 | 9320 - Other miscellaneous external problems | 2014-03-23 12:00 | 2014-03-23 18:00 | 6 | 0
1344814 | 2014 | RI | U4 | 9320 - Other miscellaneous external problems | 2014-03-23 12:00 | 2014-03-23 18:00 | 6 | 0
1344815 | 2014 | RI | U5 | 9320 - Other miscellaneous external problems | 2014-03-23 12:00 | 2014-03-23 18:00 | 6 | 0
1344816 | 2014 | RI | U6 | 9320 - Other miscellaneous external problems | 2014-03-23 12:00 | 2014-03-23 18:00 | 6 | 0
1344806 | 2014 | RI | B1 | 9320 - Other miscellaneous external problems | 2014-03-23 12:00 | 2014-03-23 18:00 | 6 | 0
1344807 | 2014 | RI | B4 | 9320 - Other miscellaneous external problems | 2014-03-23 12:00 | 2014-03-23 18:00 | 6 | 0
1344808 | 2014 | RI | B7 | 9320 - Other miscellaneous external problems | 2014-03-23 12:00 | 2014-03-23 18:00 | 6 | 0
1344809 | 2014 | RI | B8 | 9320 - Other miscellaneous external problems | 2014-03-23 12:00 | 2014-03-23 18:00 | 6 | 0
1344810 | 2014 | RI | B9 | 9320 - Other miscellaneous external problems | 2014-03-23 12:00 | 2014-03-23 18:00 | 6 | 0
1344811 | 2014 | RI | B10 | 9320 - Other miscellaneous external problems | 2014-03-23 12:00 | 2014-03-23 18:00 | 6 | 0
1719553 | 2014 | RI | B9 | 4750 - Other generator controls and metering problems | 2014-07-18 14:45 | 2014-07-19 16:55 | 26 | 0
1719545 | 2014 | RI | B7 | 7003 - Lube oil system (use code 7007 to report bearing failures due to lube oil problems) | 2014-07-20 07:33 | 2014-07-21 23:59 | 40 | 0
1719548 | 2014 | RI | B8 | 4511 - Rotor; General | 2014-08-04 23:10 | 2014-08-05 07:17 | 8 | 0
1719549 | 2014 | RI | B8 | 4511 - Rotor; General | 2014-08-10 14:23 | 2014-08-19 16:00 | 218 | 0
1718750 | 2014 | RI | U8 | 4750 - Other generator controls and metering problems | 2014-09-08 09:56 | 2014-09-09 10:12 | 24 | 0
1718742 | 2014 | RI | U7 | 7170 - Draft tube | 2014-09-10 10:12 | 2014-09-11 23:59 | 38 | 0
1718726 | 2014 | RI | U1 | 3972 - DCS - hardware problems (including card failure) | 2014-09-14 15:09 | 2014-09-15 23:59 | 33 | 0
1719550 | 2014 | RI | B8 | 7053 - Governor Oil System | 2014-09-23 15:50 | 2014-09-24 10:33 | 19 | 0
1895913 | 2014 | RI | B10 | 7009 - Bearing Oil System | 2014-10-06 21:09 | 2014-10-07 15:54 | 19 | 0
1895914 | 2014 | RI | B9 | 4511 - Rotor; General | 2014-10-10 07:40 | 2014-10-10 14:33 | 7 | 0
1895915 | 2014 | RI | B9 | 4600 - Exciter drive - motor | 2014-10-12 20:23 | 2014-10-14 08:29 | 36 | 0
1895941 | 2014 | RI | B4 | 4555 - Bearing cooling system A | 2014-11-15 18:13 | 2014-11-16 09:04 | 15 | 0
1952230 | 2015 | RI | B6 | 4535 - Stator; General | 2015-01-01 00:01 | 2015-12-31 23:59 | 8760 | 0
1975795 | 2015 | RI | B8 | 7099 - Other turbine problems | 2015-01-16 16:50 | 2015-02-06 12:05 | 499 | 0
2093271 | 2015 | RI | U8 | 7170 - Draft tube | 2015-03-09 17:19 | 2015-03-10 07:10 | 14 | 0
2115963 | 2015 | RI | U5 | 7140 - Wicket gate assembly | 2015-04-08 16:06 | 2015-04-09 09:12 | 17 | 0
2215350 | 2015 | RI | B1 | 4590 - Generator brakes | 2015-04-26 14:38 | 2015-04-27 10:04 | 19 | 0
2237044 | 2015 | RI | B8 | 9020 - Lightning | 2015-05-21 19:10 | 2015-05-22 05:00 | 10 | 0
2238223 | 2015 | RI | B1 | 7141 - Wicket gate operating mechanism or positioner | 2015-06-05 16:35 | 2015-06-08 11:10 | 67 | 0
2695423 | 2015 | RI | U6 | 7009 - Bearing Oil System | 2015-09-01 08:12 | 2015-10-24 15:45 | 1280 | 0
2421056 | 2015 | RI | U1 | 3653 - DC protection devices | 2015-09-09 07:40 | 2015-09-09 13:45 | 6 | 0
2421057 | 2015 | RI | U2 | 3653 - DC protection devices | 2015-09-09 07:40 | 2015-09-09 13:45 | 6 | 0
2423837 | 2015 | RI | U7 | 4620 - Air cooling system | 2015-09-26 14:11 | 2015-10-01 11:39 | 117 | 0
2462715 | 2015 | RI | U5 | 7141 - Wicket gate operating mechanism or positioner | 2015-10-16 06:49 | 2015-10-16 17:58 | 11 | 0
2688970 | 2015 | RI | B9 | 7030 - Vibration (Only for unbalance; report bearing failure; etc. in appropriate category) | 2015-11-02 07:30 | 2015-12-10 09:45 | 914 | 0
2688353 | 2015 | RI | B10 | 7030 - Vibration (Only for unbalance; report bearing failure; etc. in appropriate category) | 2015-11-02 07:37 | 2015-12-10 09:45 | 914 | 0
2774174 | 2015 | RI | B7 | 4560 - Generator vibration (excluding vibration due to failed bearing and other components) | 2015-11-16 13:39 | 2015-12-31 23:59 | 1090 | 0
2688354 | 2015 | RI | B8 | 4540 - Brushes and brush rigging | 2015-11-19 21:00 | 2015-11-20 06:00 | 9 | 0
2689314 | 2015 | RI | U2 | 7142 - Wicket gate shear pin | 2015-12-16 02:12 | 2015-12-16 08:24 | 6 | 0
3217899 | 2016 | RI | B6 | 4520 - Stator windings; bushings; and terminals | 2016-01-01 00:01 | 2016-10-30 23:59 | 7295 | 0
3217901 | 2016 | RI | B7 | 4520 - Stator windings; bushings; and terminals | 2016-01-01 00:01 | 2016-01-15 08:10 | 344 | 0
2917652 | 2016 | RI | B5 | 7142 - Wicket gate shear pin | 2016-01-14 17:09 | 2016-02-15 15:19 | 766 | 0
2917656 | 2016 | RI | U5 | 7240 - Powerhouse Substructure | 2016-01-14 18:13 | 2016-01-18 02:11 | 80 | 0
2917657 | 2016 | RI | U6 | 7240 - Powerhouse Substructure | 2016-01-14 18:13 | 2016-01-18 02:11 | 80 | 0
2917655 | 2016 | RI | U5 | 7141 - Wicket gate operating mechanism or positioner | 2016-01-24 14:27 | 2016-01-25 08:04 | 18 | 0
3217881 | 2016 | RI | B1 | 7014 - Blade or bucket cracking | 2016-02-08 08:10 | 2016-04-08 15:50 | 1447 | 0
3217892 | 2016 | RI | B3 | 7014 - Blade or bucket cracking | 2016-02-08 08:10 | 2016-04-08 15:50 | 1447 | 0
3217894 | 2016 | RI | B4 | 7014 - Blade or bucket cracking | 2016-02-08 08:10 | 2016-04-08 15:50 | 1447 | 0
3217887 | 2016 | RI | B2 | 7014 - Blade or bucket cracking | 2016-02-08 08:11 | 2016-04-08 15:50 | 1447 | 0
2917667 | 2016 | RI | B5 | 4720 - Generator synchronization equipment | 2016-02-16 18:52 | 2016-02-17 11:10 | 16 | 0
2921406 | 2016 | RI | U3 | 7299 - Other miscellaneous hydro turbine/pump problems (use generator codes and balance of plant electrical and auxiliary codes as appropriate) | 2016-02-18 14:48 | 2016-03-03 08:50 | 330 | 0
2963303 | 2016 | RI | B5 | 7120 - Headgates | 2016-04-14 07:10 | 2016-04-14 12:25 | 5 | 0
2963315 | 2016 | RI | U8 | 7110 - Intake channel or flume (including trash racks) | 2016-04-15 09:16 | 2016-04-15 14:25 | 5 | 0
2963304 | 2016 | RI | B8 | 4540 - Brushes and brush rigging | 2016-04-15 22:15 | 2016-04-16 07:00 | 9 | 0
3305802 | 2016 | RI | U1 | 4650 - Other cooling system problems | 2016-04-22 09:18 | 2016-04-23 11:03 | 26 | 0
3308535 | 2016 | RI | U4 | 7199 - Other water supply/discharge problems (use for equipment related problems; use codes 9135 or 9320 for lack of water or discharge limit related problems) | 2016-07-09 19:42 | 2016-07-10 12:33 | 17 | 0
3542872 | 2016 | RI | U6 | 3620 - Main transformer | 2016-09-30 12:55 | 2016-10-21 17:15 | 508 | 0
3612733 | 2017 | RI | B9 | 7052 - Other turbine control problems (Report specific wicket gate controls; etc. using the code for the appropriate equipment item.) | 2017-01-27 08:16 | 2017-01-27 14:39 | 6 | 0
3612740 | 2017 | RI | U8 | 7299 - Other miscellaneous hydro turbine/pump problems (use generator codes and balance of plant electrical and auxiliary codes as appropriate) | 2017-01-27 12:25 | 2017-02-05 17:55 | 222 | 0
3612741 | 2017 | RI | U8 | 7053 - Governor Oil System | 2017-02-14 07:12 | 2017-02-14 16:05 | 9 | 0
3612730 | 2017 | RI | B8 | 7110 - Intake channel or flume (including trash racks) | 2017-02-15 10:50 | 2017-02-16 13:08 | 26 | 0
3753109 | 2017 | RI | B9 | 7141 - Wicket gate operating mechanism or positioner | 2017-04-13 08:17 | 2017-04-13 15:41 | 7 | 0
3753136 | 2017 | RI | U5 | 4840 - Inspection E | 2017-05-17 12:07 | 2017-05-17 20:00 | 8 | 0
3753143 | 2017 | RI | B9 | 4840 - Inspection E | 2017-05-27 12:18 | 2017-05-30 08:31 | 68 | 0
3753164 | 2017 | RI | B9 | 4840 - Inspection E | 2017-06-10 21:20 | 2017-06-12 13:45 | 40 | 0
3753165 | 2017 | RI | U2 | 4650 - Other cooling system problems | 2017-06-13 10:14 | 2017-06-13 20:20 | 10 | 0
3753167 | 2017 | RI | U8 | 4650 - Other cooling system problems | 2017-06-14 10:10 | 2017-06-14 18:34 | 8 | 0
3753168 | 2017 | RI | B9 | 7053 - Governor Oil System | 2017-06-16 22:09 | 2017-12-31 23:59 | 4755 | 0
3753171 | 2017 | RI | U4 | 3644 - AC Protection devices | 2017-06-20 22:05 | 2017-06-21 05:05 | 7 | 0
3854013 | 2017 | RI | B8 | 4899 - Other miscellaneous generator problems | 2017-07-17 08:54 | 2017-12-01 16:49 | 3297 | 0
3930825 | 2017 | RI | B7 | 4500 - Rotor windings (including damper windings and fan blades on hydro units) | 2017-08-02 14:33 | 2017-12-31 23:59 | 3634 | 0
3930827 | 2017 | RI | U4 | 7053 - Governor Oil System | 2017-08-08 07:10 | 2017-08-08 13:18 | 6 | 0
3930836 | 2017 | RI | U3 | 7053 - Governor Oil System | 2017-08-12 11:51 | 2017-08-14 10:54 | 47 | 0
3979574 | 2017 | RI | B10 | 3898 - Miscellaneous plant auxiliary process and services instrumentation and controls | 2017-10-02 07:10 | 2017-10-02 17:10 | 10 | 0
4101119 | 2017 | RI | B8 | 3631 - 480-volt circuit breakers | 2017-12-01 16:49 | 2017-12-04 16:18 | 71 | 0
4101120 | 2017 | RI | B8 | 7053 - Governor Oil System | 2017-12-14 20:00 | 2017-12-15 08:04 | 12 | 0
4263403 | 2018 | RI | B7 | 4511 - Rotor; General | 2018-01-01 | 2018-12-31 23:59 | 8760 | 1
4263404 | 2018 | RI | B9 | 7053 - Governor Oil System | 2018-01-01 | 2018-09-27 16:51 | 6472 | 1
4264694 | 2018 | RI | B8 | 7141 - Wicket gate operating mechanism or positioner | 2018-01-09 07:12 | 2018-01-10 18:42 | 36 | 0
4264878 | 2018 | RI | U8 | 7110 - Intake channel or flume (including trash racks) | 2018-02-02 07:42 | 2018-02-02 13:16 | 6 | 0
4264881 | 2018 | RI | U8 | 7110 - Intake channel or flume (including trash racks) | 2018-02-08 11:59 | 2018-02-08 18:00 | 6 | 0
4264887 | 2018 | RI | U7 | 7053 - Governor Oil System | 2018-02-23 07:09 | 2018-02-23 17:01 | 10 | 0
4264891 | 2018 | RI | U1 | 4740 - Emergency generator trip devices | 2018-03-05 18:20 | 2018-03-06 19:19 | 25 | 0
4264892 | 2018 | RI | B5 | 7190 - Dewatering and rewatering equipment | 2018-03-09 09:15 | 2018-03-09 15:15 | 6 | 0
4264901 | 2018 | RI | B8 | 7099 - Other turbine problems | 2018-03-20 13:50 | 2018-04-26 11:04 | 885 | 0
4406226 | 2018 | RI | B5 | 7053 - Governor Oil System | 2018-03-29 17:03 | 2018-03-30 11:40 | 19 | 0
4406225 | 2018 | RI | B10 | 4840 - Inspection E | 2018-03-29 17:03 | 2018-03-30 11:40 | 19 | 0
4406255 | 2018 | RI | B6 | 7001 - Shaft packing | 2018-05-11 01:56 | 2018-05-11 08:48 | 7 | 0
4406257 | 2018 | RI | U3 | 9020 - Lightning | 2018-05-17 19:00 | 2018-05-18 16:36 | 22 | 0
4406259 | 2018 | RI | U1 | 9020 - Lightning | 2018-05-17 19:59 | 2018-05-18 17:21 | 21 | 0
4406275 | 2018 | RI | B5 | 7190 - Dewatering and rewatering equipment | 2018-06-08 07:08 | 2018-06-08 12:41 | 6 | 0
4406279 | 2018 | RI | B6 | 4609 - Other exciter problems | 2018-06-15 07:23 | 2018-06-21 13:54 | 151 | 0
4406280 | 2018 | RI | U3 | 7142 - Wicket gate shear pin | 2018-06-16 19:46 | 2018-06-17 08:03 | 12 | 0
4664915 | 2018 | RI | U3 | 4600 - Exciter drive - motor | 2018-07-14 03:30 | 2018-07-16 16:00 | 60 | 0
4664916 | 2018 | RI | B8 | 7053 - Governor Oil System | 2018-07-15 10:41 | 2018-07-17 16:08 | 53 | 0
4711428 | 2018 | RI | U3 | 4620 - Air cooling system | 2018-08-13 07:14 | 2018-08-14 08:29 | 25 | 0
4711438 | 2018 | RI | B6 | 4840 - Inspection E | 2018-08-22 22:02 | 2018-10-26 17:01 | 1555 | 0
4885313 | 2018 | RI | B5 | 3644 - AC Protection devices | 2018-10-22 06:54 | 2018-10-23 10:05 | 27 | 0
4885316 | 2018 | RI | B5 | 4700 - Generator voltage control | 2018-10-26 19:32 | 2018-11-02 11:45 | 160 | 0
4885319 | 2018 | RI | B6 | 4550 - Generator bearings and lube oil system (including thrust bearings on hydro units) | 2018-10-29 18:14 | 2018-10-30 07:30 | 13 | 0
4885407 | 2018 | RI | B5 | 4860 - Generator Neutral Grounding Equipment | 2018-11-18 19:08 | 2018-11-21 15:58 | 69 | 0
4885450 | 2018 | RI | U2 | 7053 - Governor Oil System | 2018-11-28 06:31 | 2018-11-28 13:33 | 7 | 0
4885458 | 2018 | RI | B5 | 4550 - Generator bearings and lube oil system (including thrust bearings on hydro units) | 2018-11-30 13:30 | 2018-12-31 23:59 | 754 | 0
4885468 | 2018 | RI | U7 | 7053 - Governor Oil System | 2018-12-27 02:27 | 2018-12-27 08:31 | 6 | 0
4921693 | 2019 | RI | B5 | 7053 - Governor Oil System | 2019-01-01 | 2019-03-13 07:10 | 1710 | 1
4921691 | 2019 | RI | B7 | 4830 - Major overhaul (720 hrs or longer) (use for non-specific overhaul only; see page B-1) | 2019-01-01 | 2019-03-19 07:00 | 1854 | 1
4921705 | 2019 | RI | B10 | 4550 - Generator bearings and lube oil system (including thrust bearings on hydro units) | 2019-01-14 16:47 | 2019-03-04 17:50 | 1177 | 0
4921724 | 2019 | RI | B8 | 4840 - Inspection E | 2019-02-20 20:20 | 2019-02-21 14:55 | 19 | 0
4921731 | 2019 | RI | U8 | 4620 - Air cooling system | 2019-03-15 07:10 | 2019-03-15 14:37 | 7 | 0
4931499 | 2019 | RI | U1 | 4620 - Air cooling system | 2019-03-20 07:10 | 2019-03-20 15:51 | 9 | 0
4931501 | 2019 | RI | U2 | 4620 - Air cooling system | 2019-03-21 07:10 | 2019-03-21 15:02 | 8 | 0
4931521 | 2019 | RI | B9 | 4750 - Other generator controls and metering problems | 2019-03-28 02:11 | 2019-03-28 11:12 | 9 | 0
5054501 | 2019 | RI | U8 | 3813 - Service water heat exchangers | 2019-05-15 18:35 | 2019-05-16 17:04 | 22 | 0
5054495 | 2019 | RI | U3 | 4605 - Exciter transformer | 2019-05-20 19:03 | 2019-05-21 13:08 | 18 | 0
5055803 | 2019 | RI | U6 | 4605 - Exciter transformer | 2019-06-24 03:07 | 2019-06-25 23:59 | 45 | 0
5206165 | 2019 | RI | B6 | 7001 - Shaft packing | 2019-07-26 11:57 | 2019-08-23 15:59 | 676 | 0
5207241 | 2019 | RI | U5 | 4620 - Air cooling system | 2019-09-19 15:56 | 2019-09-30 06:28 | 255 | 0
5375578 | 2019 | RI | B6 | 7190 - Dewatering and rewatering equipment | 2019-11-25 06:05 | 2019-11-25 15:38 | 10 | 0
5375595 | 2019 | RI | B8 | 7190 - Dewatering and rewatering equipment | 2019-11-25 07:12 | 2019-11-25 15:39 | 8 | 0
5376133 | 2019 | RI | U6 | 7099 - Other turbine problems | 2019-12-23 20:10 | 2019-12-24 09:19 | 13 | 0
5376134 | 2019 | RI | U6 | 7099 - Other turbine problems | 2019-12-24 09:46 | 2019-12-30 11:10 | 145 | 0
5529899 | 2020 | RI | U5 | 7053 - Governor Oil System | 2020-02-17 19:39 | 2020-02-18 11:25 | 16 | 0
5530624 | 2020 | RI | B9 | 4550 - Generator bearings and lube oil system (including thrust bearings on hydro units) | 2020-03-02 03:35 | 2020-03-02 11:14 | 8 | 0
5536629 | 2020 | RI | U3 | 7142 - Wicket gate shear pin | 2020-03-10 02:55 | 2020-03-10 08:59 | 6 | 0
5642257 | 2020 | RI | B4 | 9015 - Pandemic | 2020-03-23 15:30 | 2020-04-30 06:00 | 902 | 0
5642263 | 2020 | RI | B5 | 9015 - Pandemic | 2020-03-23 15:30 | 2020-04-30 06:00 | 902 | 0
5642267 | 2020 | RI | B7 | 9015 - Pandemic | 2020-03-23 15:30 | 2020-04-30 06:00 | 902 | 0
5642272 | 2020 | RI | B10 | 9015 - Pandemic | 2020-03-23 15:30 | 2020-04-30 06:00 | 902 | 0
5538247 | 2020 | RI | U6 | 7099 - Other turbine problems | 2020-03-25 21:44 | 2020-03-26 09:43 | 12 | 0
5623579 | 2020 | RI | U6 | 4620 - Air cooling system | 2020-04-16 13:27 | 2020-04-17 13:27 | 24 | 0
5621872 | 2020 | RI | U6 | 7099 - Other turbine problems | 2020-05-21 20:13 | 2020-05-22 07:38 | 11 | 0
5621873 | 2020 | RI | U6 | 7099 - Other turbine problems | 2020-05-26 07:07 | 2020-05-29 09:32 | 74 | 0
5672747 | 2020 | RI | U2 | 7142 - Wicket gate shear pin | 2020-07-11 06:52 | 2020-07-11 15:56 | 9 | 0
5678106 | 2020 | RI | B6 | 7141 - Wicket gate operating mechanism or positioner | 2020-07-17 07:28 | 2020-07-17 14:26 | 7 | 0
5769170 | 2020 | RI | U2 | 7053 - Governor Oil System | 2020-08-02 11:12 | 2020-08-03 01:05 | 14 | 0
5766461 | 2020 | RI | B8 | 4609 - Other exciter problems | 2020-08-10 14:52 | 2020-08-12 16:19 | 49 | 0
5950798 | 2020 | RI | B8 | 7053 - Governor Oil System | 2020-11-12 23:55 | 2020-11-13 09:48 | 10 | 0
5952760 | 2020 | RI | U1 | 7142 - Wicket gate shear pin | 2020-12-23 22:27 | 2020-12-24 08:42 | 10 | 0
6124392 | 2021 | RI | U4 | 4810 - Generator output breaker | 2021-03-09 16:34 | 2021-03-10 07:44 | 15 | 0
6184639 | 2021 | RI | B9 | 4550 - Generator bearings and lube oil system (including thrust bearings on hydro units) | 2021-04-23 20:30 | 2021-04-24 07:25 | 11 | 0
6252634 | 2021 | RI | U8 | 7052 - Other turbine control problems (Report specific wicket gate controls; etc. using the code for the appropriate equipment item.) | 2021-06-17 17:59 | 2021-06-18 14:36 | 21 | 0
6402006 | 2021 | RI | B8 | 4609 - Other exciter problems | 2021-07-07 13:13 | 2021-07-07 18:36 | 5 | 0
6402009 | 2021 | RI | B8 | 4750 - Other generator controls and metering problems | 2021-07-07 20:04 | 2021-07-08 14:06 | 18 | 0
6407040 | 2021 | RI | B9 | 4560 - Generator vibration (excluding vibration due to failed bearing and other components) | 2021-09-10 01:20 | 2021-09-10 10:07 | 9 | 0
6407054 | 2021 | RI | B9 | 4560 - Generator vibration (excluding vibration due to failed bearing and other components) | 2021-09-17 18:43 | 2021-09-21 14:17 | 92 | 0
6585998 | 2021 | RI | B4 | 4842 - Reactive and capability testing | 2021-10-19 11:10 | 2021-10-19 16:35 | 5 | 0
6862187 | 2022 | RI | U2 | 7053 - Governor Oil System | 2022-01-08 04:16 | 2022-01-08 13:28 | 9 | 0
6862190 | 2022 | RI | B4 | 4609 - Other exciter problems | 2022-01-09 06:17 | 2022-01-12 16:22 | 82 | 0
6780116 | 2022 | RI | U2 | 7053 - Governor Oil System | 2022-01-12 07:08 | 2022-01-12 13:56 | 7 | 0
6780173 | 2022 | RI | B8 | 4700 - Generator voltage control | 2022-03-06 18:21 | 2022-03-07 08:02 | 14 | 0
6939185 | 2022 | RI | U7 | 4700 - Generator voltage control | 2022-04-14 01:06 | 2022-04-14 10:11 | 9 | 0
7092303 | 2022 | RI | U6 | 4550 - Generator bearings and lube oil system (including thrust bearings on hydro units) | 2022-07-23 22:06 | 2022-07-24 09:51 | 12 | 0
7327568 | 2022 | RI | B4 | 7050 - Turbine governor | 2022-10-12 07:06 | 2022-10-13 13:52 | 31 | 0
7327613 | 2022 | RI | B5 | 7052 - Other turbine control problems (Report specific wicket gate controls; etc. using the code for the appropriate equipment item.) | 2022-10-12 16:00 | 2022-12-08 17:30 | 1370 | 0
7327630 | 2022 | RI | B10 | 4550 - Generator bearings and lube oil system (including thrust bearings on hydro units) | 2022-12-27 03:37 | 2022-12-27 08:45 | 5 | 0