## source
NERC GADS
NERC | = | North American Electric Reliability Corporation
GADS | = | Generator Availability Data System

## RR
Rocky Reach Forced (unplanned) outages
> 5 hour duration
Jan 1, 2014 through Dec 31, 2024
ID | Year | Hydro | Unit | Reason | Date Off | Date On | Duration Hours | Multiyear
1344622 | 2014 | RR | C4 | 3899 - Other miscellaneous auxiliary system problems | 2014-02-14 06:10 | 2014-02-17 06:22 | 72 | 0
1344668 | 2014 | RR | C9 | 9320 - Other miscellaneous external problems | 2014-03-02 23:55 | 2014-03-03 06:58 | 7 | 0
1344671 | 2014 | RR | C9 | 9320 - Other miscellaneous external problems | 2014-03-03 22:57 | 2014-03-04 06:10 | 7 | 0
1344680 | 2014 | RR | C1 | 7110 - Intake channel or flume (including trash racks) | 2014-03-12 08:37 | 2014-03-12 14:09 | 6 | 0
1518461 | 2014 | RR | C7 | 3620 - Main transformer | 2014-05-15 07:00 | 2014-05-18 07:10 | 72 | 0
1516089 | 2014 | RR | C1 | 4500 - Rotor windings (including damper windings and fan blades on hydro units) | 2014-05-29 19:42 | 2014-05-30 14:11 | 18 | 0
1720252 | 2014 | RR | C6 | 7009 - Bearing Oil System | 2014-08-09 16:31 | 2014-08-09 22:32 | 6 | 0
1938948 | 2014 | RR | C4 | 7007 - Bearings A | 2014-10-09 07:10 | 2014-10-10 22:30 | 39 | 0
1938952 | 2014 | RR | C3 | 7053 - Governor Oil System | 2014-10-15 21:00 | 2014-10-16 23:59 | 27 | 0
1938947 | 2014 | RR | C9 | 7009 - Bearing Oil System | 2014-11-12 06:10 | 2014-11-18 16:50 | 155 | 0
1938953 | 2014 | RR | C3 | 4600 - Exciter drive - motor | 2014-11-21 06:50 | 2014-11-22 23:59 | 41 | 0
1938954 | 2014 | RR | C3 | 7009 - Bearing Oil System | 2014-11-28 09:47 | 2014-11-28 23:59 | 14 | 0
2148910 | 2015 | RR | C8 | 4520 - Stator windings; bushings; and terminals | 2015-01-21 18:38 | 2015-12-31 23:59 | 8261 | 0
2755695 | 2015 | RR | C2 | 7110 - Intake channel or flume (including trash racks) | 2015-03-26 10:10 | 2015-03-26 15:50 | 6 | 0
2753280 | 2015 | RR | C4 | 7053 - Governor Oil System | 2015-04-30 07:10 | 2015-05-01 18:37 | 35 | 0
2755697 | 2015 | RR | C10 | 4520 - Stator windings; bushings; and terminals | 2015-06-24 19:17 | 2015-12-31 23:59 | 4566 | 0
2751701 | 2015 | RR | C6 | 4600 - Exciter drive - motor | 2015-08-06 15:24 | 2015-08-28 16:18 | 529 | 0
2751707 | 2015 | RR | C6 | 7030 - Vibration (Only for unbalance; report bearing failure; etc. in appropriate category) | 2015-09-22 08:10 | 2015-09-22 15:18 | 7 | 0
2689051 | 2015 | RR | C6 | 3641 - AC Circuit breakers | 2015-10-21 15:03 | 2015-10-22 13:08 | 22 | 0
2689038 | 2015 | RR | C3 | 3620 - Main transformer | 2015-11-06 07:10 | 2015-11-06 16:20 | 9 | 0
2689022 | 2015 | RR | C2 | 7053 - Governor Oil System | 2015-12-04 16:51 | 2015-12-11 16:05 | 167 | 0
2689318 | 2015 | RR | C4 | 4600 - Exciter drive - motor | 2015-12-24 06:14 | 2015-12-24 14:29 | 8 | 0
3309535 | 2016 | RR | C8 | 4520 - Stator windings; bushings; and terminals | 2016-01-01 00:01 | 2016-12-31 23:59 | 8784 | 0
3309537 | 2016 | RR | C10 | 4520 - Stator windings; bushings; and terminals | 2016-01-01 00:01 | 2016-11-17 07:28 | 7711 | 0
2921399 | 2016 | RR | C1 | 3898 - Miscellaneous plant auxiliary process and services instrumentation and controls | 2016-03-02 06:30 | 2016-03-07 07:10 | 121 | 0
3309525 | 2016 | RR | C5 | 4550 - Generator bearings and lube oil system (including thrust bearings on hydro units) | 2016-10-12 10:01 | 2016-12-02 14:02 | 1229 | 0
3493192 | 2016 | RR | C10 | 7009 - Bearing Oil System | 2016-11-22 08:11 | 2016-11-22 16:50 | 9 | 0
3493246 | 2016 | RR | C11 | 4500 - Rotor windings (including damper windings and fan blades on hydro units) | 2016-11-27 06:29 | 2016-12-31 23:59 | 834 | 0
3644501 | 2017 | RR | C8 | 4520 - Stator windings; bushings; and terminals | 2017-01-01 00:01 | 2017-12-13 09:19 | 8313 | 0
3644502 | 2017 | RR | C9 | 4520 - Stator windings; bushings; and terminals | 2017-01-01 00:01 | 2017-04-28 13:59 | 2821 | 0
3644480 | 2017 | RR | C11 | 4500 - Rotor windings (including damper windings and fan blades on hydro units) | 2017-01-01 00:01 | 2017-01-26 06:10 | 606 | 0
3753115 | 2017 | RR | C1 | 7110 - Intake channel or flume (including trash racks) | 2017-04-21 07:14 | 2017-04-21 13:55 | 7 | 0
3753131 | 2017 | RR | C1 | 4500 - Rotor windings (including damper windings and fan blades on hydro units) | 2017-05-05 14:18 | 2017-05-09 19:08 | 101 | 0
3753173 | 2017 | RR | C5 | 7050 - Turbine governor | 2017-06-23 22:44 | 2017-06-24 09:31 | 11 | 0
3930832 | 2017 | RR | C2 | 7110 - Intake channel or flume (including trash racks) | 2017-08-11 01:03 | 2017-08-11 14:50 | 14 | 0
3930833 | 2017 | RR | C1 | 7110 - Intake channel or flume (including trash racks) | 2017-08-31 03:00 | 2017-08-31 09:33 | 7 | 0
4001083 | 2017 | RR | C2 | 7110 - Intake channel or flume (including trash racks) | 2017-08-31 04:20 | 2017-08-31 09:41 | 5 | 0
4001081 | 2017 | RR | C1 | 7110 - Intake channel or flume (including trash racks) | 2017-09-08 03:00 | 2017-09-08 09:33 | 7 | 0
4001085 | 2017 | RR | C2 | 7110 - Intake channel or flume (including trash racks) | 2017-09-08 03:00 | 2017-09-08 09:34 | 7 | 0
4001088 | 2017 | RR | C3 | 7110 - Intake channel or flume (including trash racks) | 2017-09-08 03:00 | 2017-09-08 08:05 | 5 | 0
4001082 | 2017 | RR | C1 | 7110 - Intake channel or flume (including trash racks) | 2017-09-14 03:11 | 2017-09-14 13:45 | 11 | 0
4001086 | 2017 | RR | C2 | 7110 - Intake channel or flume (including trash racks) | 2017-09-14 03:12 | 2017-09-14 13:46 | 11 | 0
4001089 | 2017 | RR | C3 | 7110 - Intake channel or flume (including trash racks) | 2017-09-14 03:13 | 2017-09-14 10:41 | 7 | 0
4001100 | 2017 | RR | C9 | 7050 - Turbine governor | 2017-10-18 09:51 | 2017-10-29 00:01 | 254 | 0
4101121 | 2017 | RR | C1 | 4602 - Exciter commutator and brushes | 2017-11-06 10:59 | 2017-11-10 17:00 | 102 | 0
4101148 | 2017 | RR | C7 | 4520 - Stator windings; bushings; and terminals | 2017-11-15 07:10 | 2017-11-17 16:50 | 58 | 0
4101156 | 2017 | RR | C9 | 4830 - Major overhaul (720 hrs or longer) (use for non-specific overhaul only; see page B-1) | 2017-11-27 06:10 | 2017-12-31 23:59 | 834 | 0
4101152 | 2017 | RR | C7 | 7141 - Wicket gate operating mechanism or positioner | 2017-12-01 09:07 | 2017-12-01 16:19 | 7 | 0
4101155 | 2017 | RR | C8 | 4520 - Stator windings; bushings; and terminals | 2017-12-13 16:00 | 2017-12-15 14:00 | 46 | 0
4264689 | 2018 | RR | C9 | 4830 - Major overhaul (720 hrs or longer) (use for non-specific overhaul only; see page B-1) | 2018-01-01 | 2018-12-31 23:59 | 8760 | 1
4264691 | 2018 | RR | C2 | 7001 - Shaft packing | 2018-01-05 06:10 | 2018-01-05 23:28 | 17 | 0
4263405 | 2018 | RR | C1 | 4840 - Inspection E | 2018-01-16 09:45 | 2018-10-04 16:09 | 6269 | 0
4264884 | 2018 | RR | C2 | 3642 - AC Conductors and buses | 2018-02-15 07:02 | 2018-02-18 12:15 | 77 | 0
4406254 | 2018 | RR | C10 | 7299 - Other miscellaneous hydro turbine/pump problems (use generator codes and balance of plant electrical and auxiliary codes as appropriate) | 2018-05-14 00:03 | 2018-05-14 13:44 | 14 | 0
4406258 | 2018 | RR | C11 | 3869 - Other fire protection system problems | 2018-05-17 19:19 | 2018-05-18 14:51 | 20 | 0
4406265 | 2018 | RR | C8 | 7001 - Shaft packing | 2018-05-25 12:10 | 2018-06-18 11:44 | 576 | 0
4711433 | 2018 | RR | C5 | 3842 - Service air valves | 2018-08-16 09:10 | 2018-08-17 05:22 | 20 | 0
4711440 | 2018 | RR | C11 | 4810 - Generator output breaker | 2018-08-24 08:06 | 2018-08-25 09:17 | 25 | 0
4711449 | 2018 | RR | C7 | 3644 - AC Protection devices | 2018-09-05 17:11 | 2018-09-06 15:15 | 22 | 0
4711458 | 2018 | RR | C2 | 4600 - Exciter drive - motor | 2018-09-28 05:06 | 2018-09-28 11:01 | 6 | 0
4801179 | 2018 | RR | C1 | 7099 - Other turbine problems | 2018-10-05 13:48 | 2018-12-31 23:59 | 2099 | 0
4885322 | 2018 | RR | C10 | 3644 - AC Protection devices | 2018-11-06 17:27 | 2018-11-07 22:23 | 29 | 0
4885463 | 2018 | RR | C2 | 7009 - Bearing Oil System | 2018-12-12 02:07 | 2018-12-12 12:30 | 10 | 0
4885466 | 2018 | RR | C3 | 4540 - Brushes and brush rigging | 2018-12-24 12:15 | 2018-12-31 15:01 | 171 | 0
4885467 | 2018 | RR | C10 | 7142 - Wicket gate shear pin | 2018-12-25 09:40 | 2018-12-26 08:05 | 22 | 0
4921692 | 2019 | RR | C1 | 7099 - Other turbine problems | 2019-01-01 | 2019-12-31 23:59 | 8760 | 1
4921690 | 2019 | RR | C9 | 4830 - Major overhaul (720 hrs or longer) (use for non-specific overhaul only; see page B-1) | 2019-01-01 | 2019-12-31 23:59 | 8760 | 1
5206186 | 2019 | RR | C3 | 9300 - Transmission system problems other than catastrophes (do not include switchyard problems in this category; see codes 3600 to 3629) | 2019-07-22 19:26 | 2019-07-27 08:02 | 109 | 0
5206195 | 2019 | RR | C4 | 3620 - Main transformer | 2019-07-22 19:26 | 2019-07-26 16:20 | 93 | 0
5207196 | 2019 | RR | C6 | 4551 - Generator bearings | 2019-08-28 16:54 | 2019-09-19 10:15 | 521 | 0
5207211 | 2019 | RR | C8 | 7050 - Turbine governor | 2019-09-06 21:21 | 2019-09-11 18:47 | 117 | 0
5207217 | 2019 | RR | C10 | 3618 - Other switchyard equipment ? (not outside management control) | 2019-09-11 07:10 | 2019-09-11 18:05 | 11 | 0
5207219 | 2019 | RR | C11 | 3618 - Other switchyard equipment ? (not outside management control) | 2019-09-11 07:10 | 2019-09-11 18:05 | 11 | 0
5207213 | 2019 | RR | C8 | 7007 - Bearings A | 2019-09-18 07:50 | 2019-10-01 15:33 | 320 | 0
5207207 | 2019 | RR | C7 | 4551 - Generator bearings | 2019-09-27 16:18 | 2019-12-31 23:59 | 2289 | 0
5375976 | 2019 | RR | C2 | 7099 - Other turbine problems | 2019-10-11 15:47 | 2019-12-31 23:59 | 1953 | 0
5376126 | 2019 | RR | C11 | 7099 - Other turbine problems | 2019-10-11 16:19 | 2019-10-18 08:43 | 160 | 0
5376112 | 2019 | RR | C6 | 4550 - Generator bearings and lube oil system (including thrust bearings on hydro units) | 2019-12-18 19:43 | 2019-12-20 15:28 | 44 | 0
5533297 | 2020 | RR | C1 | 7099 - Other turbine problems | 2020-01-01 | 2020-03-13 16:25 | 1743 | 1
5533298 | 2020 | RR | C2 | 7099 - Other turbine problems | 2020-01-01 | 2020-01-24 06:50 | 559 | 1
5533300 | 2020 | RR | C3 | 7099 - Other turbine problems | 2020-01-01 | 2020-02-27 07:34 | 1376 | 1
5533333 | 2020 | RR | C7 | 4560 - Generator vibration (excluding vibration due to failed bearing and other components) | 2020-01-01 | 2020-03-05 | 1536 | 1
5642934 | 2020 | RR | C2 | 9015 - Pandemic | 2020-03-23 15:30 | 2020-04-30 06:00 | 902 | 0
5642936 | 2020 | RR | C7 | 9015 - Pandemic | 2020-03-23 15:30 | 2020-04-30 06:00 | 902 | 0
5538726 | 2020 | RR | C4 | 4550 - Generator bearings and lube oil system (including thrust bearings on hydro units) | 2020-03-28 07:18 | 2020-03-30 12:58 | 54 | 0
5538727 | 2020 | RR | C11 | 7099 - Other turbine problems | 2020-03-28 15:02 | 2020-03-28 23:47 | 9 | 0
5579253 | 2020 | RR | C5 | 7099 - Other turbine problems | 2020-04-10 17:46 | 2020-04-11 10:11 | 16 | 0
5579256 | 2020 | RR | C11 | 7099 - Other turbine problems | 2020-04-24 09:03 | 2020-04-24 15:13 | 6 | 0
5579257 | 2020 | RR | C11 | 7099 - Other turbine problems | 2020-04-28 10:04 | 2020-04-28 16:39 | 7 | 0
5719663 | 2020 | RR | C11 | 7099 - Other turbine problems | 2020-07-22 17:50 | 2020-08-06 11:02 | 353 | 0
5785542 | 2020 | RR | C9 | 3982 - PLC - hardware problems (including card failure) | 2020-09-22 23:13 | 2020-09-23 10:01 | 11 | 0
5786125 | 2020 | RR | C10 | 4551 - Generator bearings | 2020-09-25 09:01 | 2020-09-25 14:32 | 6 | 0
5950796 | 2020 | RR | C5 | 4810 - Generator output breaker | 2020-11-09 21:26 | 2020-11-12 15:28 | 66 | 0
6051585 | 2021 | RR | C9 | 4620 - Air cooling system | 2021-01-21 08:28 | 2021-01-21 14:37 | 6 | 0
6120741 | 2021 | RR | C1 | 4551 - Generator bearings | 2021-02-19 05:46 | 2021-02-19 16:09 | 10 | 0
6123596 | 2021 | RR | C6 | 7050 - Turbine governor | 2021-03-06 21:47 | 2021-03-08 12:58 | 39 | 0
6251011 | 2021 | RR | C4 | 7009 - Bearing Oil System | 2021-05-23 16:22 | 2021-05-23 23:06 | 7 | 0
6402031 | 2021 | RR | C11 | 7099 - Other turbine problems | 2021-07-21 11:55 | 2021-07-29 13:28 | 194 | 0
6402032 | 2021 | RR | C4 | 7099 - Other turbine problems | 2021-07-29 15:45 | 2021-07-30 10:33 | 19 | 0
6402036 | 2021 | RR | C4 | 7099 - Other turbine problems | 2021-07-30 15:28 | 2021-07-30 20:54 | 5 | 0
6402047 | 2021 | RR | C1 | 7110 - Intake channel or flume (including trash racks) | 2021-08-06 14:11 | 2021-08-11 03:00 | 109 | 0
6585984 | 2021 | RR | C7 | 4609 - Other exciter problems | 2021-10-03 15:24 | 2021-10-03 22:57 | 8 | 0
6585989 | 2021 | RR | C7 | 7009 - Bearing Oil System | 2021-10-08 23:14 | 2021-10-09 11:13 | 12 | 0
6586002 | 2021 | RR | C7 | 7009 - Bearing Oil System | 2021-10-20 21:12 | 2021-10-21 08:45 | 12 | 0
6586017 | 2021 | RR | C7 | 7009 - Bearing Oil System | 2021-10-24 07:05 | 2021-10-25 15:28 | 32 | 0
6586039 | 2021 | RR | C3 | 3670 - 12kV transformers | 2021-11-03 07:09 | 2021-11-03 16:36 | 9 | 0
6586054 | 2021 | RR | C5 | 7008 - Bearing cooling system B | 2021-12-24 22:53 | 2021-12-25 10:54 | 12 | 0
6994897 | 2022 | RR | C10 | 7099 - Other turbine problems | 2022-05-07 05:34 | 2022-05-07 17:45 | 12 | 0
7092305 | 2022 | RR | C10 | 7009 - Bearing Oil System | 2022-08-06 01:56 | 2022-08-06 15:54 | 14 | 0
7092324 | 2022 | RR | C3 | 7110 - Intake channel or flume (including trash racks) | 2022-08-23 03:11 | 2022-08-23 11:30 | 8 | 0
7327552 | 2022 | RR | C1 | 7008 - Bearing cooling system B | 2022-10-02 01:31 | 2022-10-02 13:22 | 12 | 0
7327570 | 2022 | RR | C2 | 7008 - Bearing cooling system B | 2022-10-15 23:09 | 2022-10-18 15:25 | 64 | 0
7327684 | 2022 | RR | C11 | 7099 - Other turbine problems | 2022-11-01 17:00 | 2023-01-01 | 1448 | 1
7327617 | 2022 | RR | C10 | 7099 - Other turbine problems | 2022-11-17 05:58 | 2022-12-12 11:11 | 605 | 0
7327606 | 2022 | RR | C6 | 4550 - Generator bearings and lube oil system (including thrust bearings on hydro units) | 2022-12-03 15:12 | 2022-12-03 21:31 | 6 | 0
7327607 | 2022 | RR | C3 | 4550 - Generator bearings and lube oil system (including thrust bearings on hydro units) | 2022-12-05 03:16 | 2022-12-05 13:38 | 10 | 0
7514211 | 2023 |  | C1 | 9300 - Transmission system problems other than catastrophes (do not include switchyard problems in this category; see codes 3600 to 3629) | 2023-01-04 21:21 | 2023-01-05 19:57 | 23 | 0
7514215 | 2023 |  | C1 | 9300 - Transmission system problems other than catastrophes (do not include switchyard problems in this category; see codes 3600 to 3629) | 2023-01-09 07:10 | 2023-01-09 16:45 | 10 | 0
7514223 | 2023 |  | C1 | 9300 - Transmission system problems other than catastrophes (do not include switchyard problems in this category; see codes 3600 to 3629) | 2023-01-09 16:49 | 2023-01-10 15:00 | 22 | 0
7810128 | 2023 |  | C1 | 7110 - Intake channel or flume (including trash racks) | 2023-07-27 01:55 | 2023-07-27 13:55 | 12 | 0
7514212 | 2023 |  | C2 | 9300 - Transmission system problems other than catastrophes (do not include switchyard problems in this category; see codes 3600 to 3629) | 2023-01-04 21:21 | 2023-01-05 19:57 | 23 | 0
7514216 | 2023 |  | C2 | 9300 - Transmission system problems other than catastrophes (do not include switchyard problems in this category; see codes 3600 to 3629) | 2023-01-09 07:10 | 2023-01-09 16:45 | 10 | 0
7514224 | 2023 |  | C2 | 9300 - Transmission system problems other than catastrophes (do not include switchyard problems in this category; see codes 3600 to 3629) | 2023-01-09 16:49 | 2023-01-10 15:00 | 22 | 0
7646997 | 2023 |  | C2 | 7099 - Other turbine problems | 2023-05-06 10:20 | 2023-05-08 03:05 | 41 | 0
7647000 | 2023 |  | C2 | 7099 - Other turbine problems | 2023-05-08 03:05 | 2023-05-09 08:28 | 29 | 0
7514213 | 2023 |  | C3 | 9300 - Transmission system problems other than catastrophes (do not include switchyard problems in this category; see codes 3600 to 3629) | 2023-01-04 21:21 | 2023-01-05 19:57 | 23 | 0
7514217 | 2023 |  | C3 | 9300 - Transmission system problems other than catastrophes (do not include switchyard problems in this category; see codes 3600 to 3629) | 2023-01-09 07:10 | 2023-01-09 16:45 | 10 | 0
7514225 | 2023 |  | C3 | 9300 - Transmission system problems other than catastrophes (do not include switchyard problems in this category; see codes 3600 to 3629) | 2023-01-09 16:49 | 2023-01-10 15:00 | 22 | 0
7514113 | 2023 |  | C3 | 4550 - Generator bearings and lube oil system (including thrust bearings on hydro units) | 2023-02-15 06:27 | 2023-02-15 12:38 | 6 | 0
7647016 | 2023 |  | C3 | 7003 - Lube oil system (use code 7007 to report bearing failures due to lube oil problems) | 2023-06-09 18:14 | 2023-06-10 01:36 | 7 | 0
7514214 | 2023 |  | C4 | 9300 - Transmission system problems other than catastrophes (do not include switchyard problems in this category; see codes 3600 to 3629) | 2023-01-04 21:21 | 2023-01-05 19:57 | 23 | 0
7514218 | 2023 |  | C4 | 9300 - Transmission system problems other than catastrophes (do not include switchyard problems in this category; see codes 3600 to 3629) | 2023-01-09 07:10 | 2023-01-09 16:45 | 10 | 0
7514226 | 2023 |  | C4 | 9300 - Transmission system problems other than catastrophes (do not include switchyard problems in this category; see codes 3600 to 3629) | 2023-01-09 16:49 | 2023-01-10 15:00 | 22 | 0
8022738 | 2023 |  | C5 | 4810 - Generator output breaker | 2023-10-01 01:23 | 2023-10-01 10:27 | 9 | 0
7646967 | 2023 |  | C8 | 4630 - Liquid cooling system | 2023-04-03 13:42 | 2023-04-04 10:13 | 21 | 0
8022824 | 2023 |  | C8 | 4730 - Generator current and potential transformers | 2023-11-29 22:34 | 2023-11-30 08:52 | 10 | 0
7514096 | 2023 |  | C10 | 7141 - Wicket gate operating mechanism or positioner | 2023-01-05 09:52 | 2023-01-20 14:28 | 365 | 0
7810170 | 2023 |  | C10 | 7007 - Bearings A | 2023-09-05 09:30 | 2023-10-02 07:00 | 646 | 0
7514097 | 2023 |  | C11 | 7099 - Other turbine problems | 2023-01-01 | 2023-01-23 03:10 | 531 | 1
8286521 | 2024 |  | C1 | 7110 - Intake channel or flume (including trash racks) | 2024-08-12 10:02 | 2024-08-13 11:51 | 26 | 0
8286525 | 2024 |  | C1 | 7110 - Intake channel or flume (including trash racks) | 2024-09-01 07:00 | 2024-09-04 07:10 | 72 | 0
8286439 | 2024 |  | C1 | 7110 - Intake channel or flume (including trash racks) | 2024-09-04 11:59 | 2024-09-05 07:00 | 19 | 0
8286504 | 2024 |  | C1 | 7110 - Intake channel or flume (including trash racks) | 2024-09-05 09:40 | 2024-09-06 06:01 | 20 | 0
8286510 | 2024 |  | C1 | 7110 - Intake channel or flume (including trash racks) | 2024-09-06 06:01 | 2024-09-06 13:41 | 8 | 0
8286465 | 2024 |  | C1 | 7110 - Intake channel or flume (including trash racks) | 2024-09-26 10:00 | 2024-09-30 09:55 | 96 | 0
8286524 | 2024 |  | C2 | 7110 - Intake channel or flume (including trash racks) | 2024-08-28 06:54 | 2024-08-28 12:03 | 5 | 0
8286471 | 2024 |  | C2 | 7110 - Intake channel or flume (including trash racks) | 2024-09-03 13:07 | 2024-09-05 07:00 | 42 | 0
8212939 | 2024 |  | C3 | 4555 - Bearing cooling system A | 2024-05-05 03:53 | 2024-05-05 12:41 | 9 | 0
8212988 | 2024 |  | C3 | 3620 - Main transformer | 2024-06-06 14:35 | 2024-09-19 12:03 | 2517 | 0
8286492 | 2024 |  | C7 | 4630 - Liquid cooling system | 2024-08-15 16:50 | 2024-08-16 01:11 | 8 | 0
8286452 | 2024 |  | C7 | 4630 - Liquid cooling system | 2024-08-16 18:00 | 2024-08-17 07:33 | 14 | 0
8286445 | 2024 |  | C7 | 7140 - Wicket gate assembly | 2024-09-10 00:19 | 2024-09-10 17:07 | 17 | 0
8634378 | 2024 |  | C7 | 4590 - Generator brakes | 2024-10-01 23:10 | 2024-10-05 17:14 | 90 | 0
8634478 | 2024 |  | C8 | 4810 - Generator output breaker | 2024-12-19 07:58 | 2024-12-19 16:05 | 8 | 0

## RI
Rock Island Forced (unplanned) outages
> 5 hour duration
Jan 1, 2014 through Dec 31, 2024
ID | Year | Hydro | Unit | Reason | Date Off | Date On | Duration Hours | Multiyear
1176773 | 2014 | RI | B6 | 4750 - Other generator controls and metering problems | 2014-01-02 01:23 | 2014-01-02 08:12 | 7 | 0
1344608 | 2014 | RI | B6 | 4750 - Other generator controls and metering problems | 2014-01-28 01:12 | 2014-01-28 08:21 | 7 | 0
1344609 | 2014 | RI | B6 | 4750 - Other generator controls and metering problems | 2014-01-28 14:49 | 2014-01-29 12:45 | 22 | 0
1344626 | 2014 | RI | B7 | 9320 - Other miscellaneous external problems | 2014-02-27 17:56 | 2014-03-01 14:17 | 44 | 0
1344627 | 2014 | RI | B8 | 9320 - Other miscellaneous external problems | 2014-02-27 17:56 | 2014-03-01 14:18 | 44 | 0
1344628 | 2014 | RI | B5 | 9320 - Other miscellaneous external problems | 2014-02-27 18:00 | 2014-03-01 14:15 | 44 | 0
1344629 | 2014 | RI | B6 | 9320 - Other miscellaneous external problems | 2014-02-27 18:00 | 2014-03-01 14:16 | 44 | 0
1344674 | 2014 | RI | U3 | 9320 - Other miscellaneous external problems | 2014-03-03 01:48 | 2014-03-08 12:06 | 130 | 0
1344675 | 2014 | RI | U4 | 9320 - Other miscellaneous external problems | 2014-03-03 01:48 | 2014-03-08 12:06 | 130 | 0
1344773 | 2014 | RI | B1 | 9320 - Other miscellaneous external problems | 2014-03-03 17:12 | 2014-03-08 12:06 | 115 | 0
1344774 | 2014 | RI | B3 | 9320 - Other miscellaneous external problems | 2014-03-03 17:12 | 2014-03-08 12:06 | 115 | 0
1344775 | 2014 | RI | B4 | 9320 - Other miscellaneous external problems | 2014-03-03 17:12 | 2014-03-08 12:06 | 115 | 0
1344776 | 2014 | RI | B6 | 9320 - Other miscellaneous external problems | 2014-03-03 17:12 | 2014-03-08 12:06 | 115 | 0
1344777 | 2014 | RI | B7 | 9320 - Other miscellaneous external problems | 2014-03-03 17:12 | 2014-03-08 12:06 | 115 | 0
1344778 | 2014 | RI | B8 | 9320 - Other miscellaneous external problems | 2014-03-03 17:12 | 2014-03-08 12:06 | 115 | 0
1344779 | 2014 | RI | B9 | 9320 - Other miscellaneous external problems | 2014-03-03 17:12 | 2014-03-08 12:06 | 115 | 0
1344780 | 2014 | RI | B10 | 9320 - Other miscellaneous external problems | 2014-03-03 17:12 | 2014-03-08 12:06 | 115 | 0
2025863 | 2014 | RI | B5 | 9720 - Other safety problems | 2014-03-03 17:17 | 2014-03-10 10:26 | 160 | 0
1344781 | 2014 | RI | U2 | 9320 - Other miscellaneous external problems | 2014-03-08 17:18 | 2014-03-09 08:02 | 14 | 0
1344782 | 2014 | RI | U3 | 9320 - Other miscellaneous external problems | 2014-03-08 17:18 | 2014-03-09 08:02 | 14 | 0
1344783 | 2014 | RI | U4 | 9320 - Other miscellaneous external problems | 2014-03-08 17:18 | 2014-03-09 08:02 | 14 | 0
1344784 | 2014 | RI | U5 | 9320 - Other miscellaneous external problems | 2014-03-08 17:18 | 2014-03-09 08:02 | 14 | 0
1344785 | 2014 | RI | U6 | 9320 - Other miscellaneous external problems | 2014-03-08 17:18 | 2014-03-09 08:02 | 14 | 0
1344786 | 2014 | RI | U7 | 9320 - Other miscellaneous external problems | 2014-03-08 17:18 | 2014-03-09 13:49 | 20 | 0
1344787 | 2014 | RI | U8 | 9320 - Other miscellaneous external problems | 2014-03-08 17:18 | 2014-03-09 13:49 | 20 | 0
1344788 | 2014 | RI | B1 | 9320 - Other miscellaneous external problems | 2014-03-09 03:31 | 2014-03-14 06:24 | 123 | 0
1344789 | 2014 | RI | B3 | 9320 - Other miscellaneous external problems | 2014-03-09 03:31 | 2014-03-14 06:24 | 123 | 0
1344790 | 2014 | RI | B4 | 9320 - Other miscellaneous external problems | 2014-03-09 03:31 | 2014-03-14 06:24 | 123 | 0
1344791 | 2014 | RI | B6 | 9320 - Other miscellaneous external problems | 2014-03-09 03:31 | 2014-03-14 06:24 | 123 | 0
1344792 | 2014 | RI | B7 | 9320 - Other miscellaneous external problems | 2014-03-09 03:31 | 2014-03-14 06:24 | 123 | 0
1344793 | 2014 | RI | U7 | 9320 - Other miscellaneous external problems | 2014-03-10 07:28 | 2014-03-14 16:26 | 105 | 0
1344794 | 2014 | RI | U8 | 9320 - Other miscellaneous external problems | 2014-03-10 07:28 | 2014-03-14 16:26 | 105 | 0
2025865 | 2014 | RI | B5 | 9720 - Other safety problems | 2014-03-10 16:35 | 2014-03-12 05:20 | 37 | 0
1344692 | 2014 | RI | U7 | 7180 - Tailrace | 2014-03-14 16:32 | 2014-03-30 10:50 | 378 | 0
1344685 | 2014 | RI | B6 | 9320 - Other miscellaneous external problems | 2014-03-14 16:35 | 2014-03-23 18:02 | 217 | 0
1344682 | 2014 | RI | B3 | 7180 - Tailrace | 2014-03-17 14:54 | 2014-03-19 13:52 | 47 | 0
1344812 | 2014 | RI | U2 | 9320 - Other miscellaneous external problems | 2014-03-23 12:00 | 2014-03-23 18:00 | 6 | 0
1344813 | 2014 | RI | U3 | 9320 - Other miscellaneous external problems | 2014-03-23 12:00 | 2014-03-23 18:00 | 6 | 0
1344814 | 2014 | RI | U4 | 9320 - Other miscellaneous external problems | 2014-03-23 12:00 | 2014-03-23 18:00 | 6 | 0
1344815 | 2014 | RI | U5 | 9320 - Other miscellaneous external problems | 2014-03-23 12:00 | 2014-03-23 18:00 | 6 | 0
1344816 | 2014 | RI | U6 | 9320 - Other miscellaneous external problems | 2014-03-23 12:00 | 2014-03-23 18:00 | 6 | 0
1344806 | 2014 | RI | B1 | 9320 - Other miscellaneous external problems | 2014-03-23 12:00 | 2014-03-23 18:00 | 6 | 0
1344807 | 2014 | RI | B4 | 9320 - Other miscellaneous external problems | 2014-03-23 12:00 | 2014-03-23 18:00 | 6 | 0
1344808 | 2014 | RI | B7 | 9320 - Other miscellaneous external problems | 2014-03-23 12:00 | 2014-03-23 18:00 | 6 | 0
1344809 | 2014 | RI | B8 | 9320 - Other miscellaneous external problems | 2014-03-23 12:00 | 2014-03-23 18:00 | 6 | 0
1344810 | 2014 | RI | B9 | 9320 - Other miscellaneous external problems | 2014-03-23 12:00 | 2014-03-23 18:00 | 6 | 0
1344811 | 2014 | RI | B10 | 9320 - Other miscellaneous external problems | 2014-03-23 12:00 | 2014-03-23 18:00 | 6 | 0
1719553 | 2014 | RI | B9 | 4750 - Other generator controls and metering problems | 2014-07-18 14:45 | 2014-07-19 16:55 | 26 | 0
1719545 | 2014 | RI | B7 | 7003 - Lube oil system (use code 7007 to report bearing failures due to lube oil problems) | 2014-07-20 07:33 | 2014-07-21 23:59 | 40 | 0
1719548 | 2014 | RI | B8 | 4511 - Rotor; General | 2014-08-04 23:10 | 2014-08-05 07:17 | 8 | 0
1719549 | 2014 | RI | B8 | 4511 - Rotor; General | 2014-08-10 14:23 | 2014-08-19 16:00 | 218 | 0
1718750 | 2014 | RI | U8 | 4750 - Other generator controls and metering problems | 2014-09-08 09:56 | 2014-09-09 10:12 | 24 | 0
1718742 | 2014 | RI | U7 | 7170 - Draft tube | 2014-09-10 10:12 | 2014-09-11 23:59 | 38 | 0
1718726 | 2014 | RI | U1 | 3972 - DCS - hardware problems (including card failure) | 2014-09-14 15:09 | 2014-09-15 23:59 | 33 | 0
1719550 | 2014 | RI | B8 | 7053 - Governor Oil System | 2014-09-23 15:50 | 2014-09-24 10:33 | 19 | 0
1895913 | 2014 | RI | B10 | 7009 - Bearing Oil System | 2014-10-06 21:09 | 2014-10-07 15:54 | 19 | 0
1895914 | 2014 | RI | B9 | 4511 - Rotor; General | 2014-10-10 07:40 | 2014-10-10 14:33 | 7 | 0
1895915 | 2014 | RI | B9 | 4600 - Exciter drive - motor | 2014-10-12 20:23 | 2014-10-14 08:29 | 36 | 0
1895941 | 2014 | RI | B4 | 4555 - Bearing cooling system A | 2014-11-15 18:13 | 2014-11-16 09:04 | 15 | 0
1952230 | 2015 | RI | B6 | 4535 - Stator; General | 2015-01-01 00:01 | 2015-12-31 23:59 | 8760 | 0
1975795 | 2015 | RI | B8 | 7099 - Other turbine problems | 2015-01-16 16:50 | 2015-02-06 12:05 | 499 | 0
2093271 | 2015 | RI | U8 | 7170 - Draft tube | 2015-03-09 17:19 | 2015-03-10 07:10 | 14 | 0
2115963 | 2015 | RI | U5 | 7140 - Wicket gate assembly | 2015-04-08 16:06 | 2015-04-09 09:12 | 17 | 0
2215350 | 2015 | RI | B1 | 4590 - Generator brakes | 2015-04-26 14:38 | 2015-04-27 10:04 | 19 | 0
2237044 | 2015 | RI | B8 | 9020 - Lightning | 2015-05-21 19:10 | 2015-05-22 05:00 | 10 | 0
2238223 | 2015 | RI | B1 | 7141 - Wicket gate operating mechanism or positioner | 2015-06-05 16:35 | 2015-06-08 11:10 | 67 | 0
2695423 | 2015 | RI | U6 | 7009 - Bearing Oil System | 2015-09-01 08:12 | 2015-10-24 15:45 | 1280 | 0
2421056 | 2015 | RI | U1 | 3653 - DC protection devices | 2015-09-09 07:40 | 2015-09-09 13:45 | 6 | 0
2421057 | 2015 | RI | U2 | 3653 - DC protection devices | 2015-09-09 07:40 | 2015-09-09 13:45 | 6 | 0
2423837 | 2015 | RI | U7 | 4620 - Air cooling system | 2015-09-26 14:11 | 2015-10-01 11:39 | 117 | 0
2462715 | 2015 | RI | U5 | 7141 - Wicket gate operating mechanism or positioner | 2015-10-16 06:49 | 2015-10-16 17:58 | 11 | 0
2688970 | 2015 | RI | B9 | 7030 - Vibration (Only for unbalance; report bearing failure; etc. in appropriate category) | 2015-11-02 07:30 | 2015-12-10 09:45 | 914 | 0
2688353 | 2015 | RI | B10 | 7030 - Vibration (Only for unbalance; report bearing failure; etc. in appropriate category) | 2015-11-02 07:37 | 2015-12-10 09:45 | 914 | 0
2774174 | 2015 | RI | B7 | 4560 - Generator vibration (excluding vibration due to failed bearing and other components) | 2015-11-16 13:39 | 2015-12-31 23:59 | 1090 | 0
2688354 | 2015 | RI | B8 | 4540 - Brushes and brush rigging | 2015-11-19 21:00 | 2015-11-20 06:00 | 9 | 0
2689314 | 2015 | RI | U2 | 7142 - Wicket gate shear pin | 2015-12-16 02:12 | 2015-12-16 08:24 | 6 | 0
3217899 | 2016 | RI | B6 | 4520 - Stator windings; bushings; and terminals | 2016-01-01 00:01 | 2016-10-30 23:59 | 7295 | 0
3217901 | 2016 | RI | B7 | 4520 - Stator windings; bushings; and terminals | 2016-01-01 00:01 | 2016-01-15 08:10 | 344 | 0
2917652 | 2016 | RI | B5 | 7142 - Wicket gate shear pin | 2016-01-14 17:09 | 2016-02-15 15:19 | 766 | 0
2917656 | 2016 | RI | U5 | 7240 - Powerhouse Substructure | 2016-01-14 18:13 | 2016-01-18 02:11 | 80 | 0
2917657 | 2016 | RI | U6 | 7240 - Powerhouse Substructure | 2016-01-14 18:13 | 2016-01-18 02:11 | 80 | 0
2917655 | 2016 | RI | U5 | 7141 - Wicket gate operating mechanism or positioner | 2016-01-24 14:27 | 2016-01-25 08:04 | 18 | 0
3217881 | 2016 | RI | B1 | 7014 - Blade or bucket cracking | 2016-02-08 08:10 | 2016-04-08 15:50 | 1447 | 0
3217892 | 2016 | RI | B3 | 7014 - Blade or bucket cracking | 2016-02-08 08:10 | 2016-04-08 15:50 | 1447 | 0
3217894 | 2016 | RI | B4 | 7014 - Blade or bucket cracking | 2016-02-08 08:10 | 2016-04-08 15:50 | 1447 | 0
3217887 | 2016 | RI | B2 | 7014 - Blade or bucket cracking | 2016-02-08 08:11 | 2016-04-08 15:50 | 1447 | 0
2917667 | 2016 | RI | B5 | 4720 - Generator synchronization equipment | 2016-02-16 18:52 | 2016-02-17 11:10 | 16 | 0
2921406 | 2016 | RI | U3 | 7299 - Other miscellaneous hydro turbine/pump problems (use generator codes and balance of plant electrical and auxiliary codes as appropriate) | 2016-02-18 14:48 | 2016-03-03 08:50 | 330 | 0
2963303 | 2016 | RI | B5 | 7120 - Headgates | 2016-04-14 07:10 | 2016-04-14 12:25 | 5 | 0
2963315 | 2016 | RI | U8 | 7110 - Intake channel or flume (including trash racks) | 2016-04-15 09:16 | 2016-04-15 14:25 | 5 | 0
2963304 | 2016 | RI | B8 | 4540 - Brushes and brush rigging | 2016-04-15 22:15 | 2016-04-16 07:00 | 9 | 0
3305802 | 2016 | RI | U1 | 4650 - Other cooling system problems | 2016-04-22 09:18 | 2016-04-23 11:03 | 26 | 0
3308535 | 2016 | RI | U4 | 7199 - Other water supply/discharge problems (use for equipment related problems; use codes 9135 or 9320 for lack of water or discharge limit related problems) | 2016-07-09 19:42 | 2016-07-10 12:33 | 17 | 0
3542872 | 2016 | RI | U6 | 3620 - Main transformer | 2016-09-30 12:55 | 2016-10-21 17:15 | 508 | 0
3612733 | 2017 | RI | B9 | 7052 - Other turbine control problems (Report specific wicket gate controls; etc. using the code for the appropriate equipment item.) | 2017-01-27 08:16 | 2017-01-27 14:39 | 6 | 0
3612740 | 2017 | RI | U8 | 7299 - Other miscellaneous hydro turbine/pump problems (use generator codes and balance of plant electrical and auxiliary codes as appropriate) | 2017-01-27 12:25 | 2017-02-05 17:55 | 222 | 0
3612741 | 2017 | RI | U8 | 7053 - Governor Oil System | 2017-02-14 07:12 | 2017-02-14 16:05 | 9 | 0
3612730 | 2017 | RI | B8 | 7110 - Intake channel or flume (including trash racks) | 2017-02-15 10:50 | 2017-02-16 13:08 | 26 | 0
3753109 | 2017 | RI | B9 | 7141 - Wicket gate operating mechanism or positioner | 2017-04-13 08:17 | 2017-04-13 15:41 | 7 | 0
3753136 | 2017 | RI | U5 | 4840 - Inspection E | 2017-05-17 12:07 | 2017-05-17 20:00 | 8 | 0
3753143 | 2017 | RI | B9 | 4840 - Inspection E | 2017-05-27 12:18 | 2017-05-30 08:31 | 68 | 0
3753164 | 2017 | RI | B9 | 4840 - Inspection E | 2017-06-10 21:20 | 2017-06-12 13:45 | 40 | 0
3753165 | 2017 | RI | U2 | 4650 - Other cooling system problems | 2017-06-13 10:14 | 2017-06-13 20:20 | 10 | 0
3753167 | 2017 | RI | U8 | 4650 - Other cooling system problems | 2017-06-14 10:10 | 2017-06-14 18:34 | 8 | 0
3753168 | 2017 | RI | B9 | 7053 - Governor Oil System | 2017-06-16 22:09 | 2017-12-31 23:59 | 4755 | 0
3753171 | 2017 | RI | U4 | 3644 - AC Protection devices | 2017-06-20 22:05 | 2017-06-21 05:05 | 7 | 0
3854013 | 2017 | RI | B8 | 4899 - Other miscellaneous generator problems | 2017-07-17 08:54 | 2017-12-01 16:49 | 3297 | 0
3930825 | 2017 | RI | B7 | 4500 - Rotor windings (including damper windings and fan blades on hydro units) | 2017-08-02 14:33 | 2017-12-31 23:59 | 3634 | 0
3930827 | 2017 | RI | U4 | 7053 - Governor Oil System | 2017-08-08 07:10 | 2017-08-08 13:18 | 6 | 0
3930836 | 2017 | RI | U3 | 7053 - Governor Oil System | 2017-08-12 11:51 | 2017-08-14 10:54 | 47 | 0
3979574 | 2017 | RI | B10 | 3898 - Miscellaneous plant auxiliary process and services instrumentation and controls | 2017-10-02 07:10 | 2017-10-02 17:10 | 10 | 0
4101119 | 2017 | RI | B8 | 3631 - 480-volt circuit breakers | 2017-12-01 16:49 | 2017-12-04 16:18 | 71 | 0
4101120 | 2017 | RI | B8 | 7053 - Governor Oil System | 2017-12-14 20:00 | 2017-12-15 08:04 | 12 | 0
4263403 | 2018 | RI | B7 | 4511 - Rotor; General | 2018-01-01 | 2018-12-31 23:59 | 8760 | 1
4263404 | 2018 | RI | B9 | 7053 - Governor Oil System | 2018-01-01 | 2018-09-27 16:51 | 6472 | 1
4264694 | 2018 | RI | B8 | 7141 - Wicket gate operating mechanism or positioner | 2018-01-09 07:12 | 2018-01-10 18:42 | 36 | 0
4264878 | 2018 | RI | U8 | 7110 - Intake channel or flume (including trash racks) | 2018-02-02 07:42 | 2018-02-02 13:16 | 6 | 0
4264881 | 2018 | RI | U8 | 7110 - Intake channel or flume (including trash racks) | 2018-02-08 11:59 | 2018-02-08 18:00 | 6 | 0
4264887 | 2018 | RI | U7 | 7053 - Governor Oil System | 2018-02-23 07:09 | 2018-02-23 17:01 | 10 | 0
4264891 | 2018 | RI | U1 | 4740 - Emergency generator trip devices | 2018-03-05 18:20 | 2018-03-06 19:19 | 25 | 0
4264892 | 2018 | RI | B5 | 7190 - Dewatering and rewatering equipment | 2018-03-09 09:15 | 2018-03-09 15:15 | 6 | 0
4264901 | 2018 | RI | B8 | 7099 - Other turbine problems | 2018-03-20 13:50 | 2018-04-26 11:04 | 885 | 0
4406226 | 2018 | RI | B5 | 7053 - Governor Oil System | 2018-03-29 17:03 | 2018-03-30 11:40 | 19 | 0
4406225 | 2018 | RI | B10 | 4840 - Inspection E | 2018-03-29 17:03 | 2018-03-30 11:40 | 19 | 0
4406255 | 2018 | RI | B6 | 7001 - Shaft packing | 2018-05-11 01:56 | 2018-05-11 08:48 | 7 | 0
4406257 | 2018 | RI | U3 | 9020 - Lightning | 2018-05-17 19:00 | 2018-05-18 16:36 | 22 | 0
4406259 | 2018 | RI | U1 | 9020 - Lightning | 2018-05-17 19:59 | 2018-05-18 17:21 | 21 | 0
4406275 | 2018 | RI | B5 | 7190 - Dewatering and rewatering equipment | 2018-06-08 07:08 | 2018-06-08 12:41 | 6 | 0
4406279 | 2018 | RI | B6 | 4609 - Other exciter problems | 2018-06-15 07:23 | 2018-06-21 13:54 | 151 | 0
4406280 | 2018 | RI | U3 | 7142 - Wicket gate shear pin | 2018-06-16 19:46 | 2018-06-17 08:03 | 12 | 0
4664915 | 2018 | RI | U3 | 4600 - Exciter drive - motor | 2018-07-14 03:30 | 2018-07-16 16:00 | 60 | 0
4664916 | 2018 | RI | B8 | 7053 - Governor Oil System | 2018-07-15 10:41 | 2018-07-17 16:08 | 53 | 0
4711428 | 2018 | RI | U3 | 4620 - Air cooling system | 2018-08-13 07:14 | 2018-08-14 08:29 | 25 | 0
4711438 | 2018 | RI | B6 | 4840 - Inspection E | 2018-08-22 22:02 | 2018-10-26 17:01 | 1555 | 0
4885313 | 2018 | RI | B5 | 3644 - AC Protection devices | 2018-10-22 06:54 | 2018-10-23 10:05 | 27 | 0
4885316 | 2018 | RI | B5 | 4700 - Generator voltage control | 2018-10-26 19:32 | 2018-11-02 11:45 | 160 | 0
4885319 | 2018 | RI | B6 | 4550 - Generator bearings and lube oil system (including thrust bearings on hydro units) | 2018-10-29 18:14 | 2018-10-30 07:30 | 13 | 0
4885407 | 2018 | RI | B5 | 4860 - Generator Neutral Grounding Equipment | 2018-11-18 19:08 | 2018-11-21 15:58 | 69 | 0
4885450 | 2018 | RI | U2 | 7053 - Governor Oil System | 2018-11-28 06:31 | 2018-11-28 13:33 | 7 | 0
4885458 | 2018 | RI | B5 | 4550 - Generator bearings and lube oil system (including thrust bearings on hydro units) | 2018-11-30 13:30 | 2018-12-31 23:59 | 754 | 0
4885468 | 2018 | RI | U7 | 7053 - Governor Oil System | 2018-12-27 02:27 | 2018-12-27 08:31 | 6 | 0
4921693 | 2019 | RI | B5 | 7053 - Governor Oil System | 2019-01-01 | 2019-03-13 07:10 | 1710 | 1
4921691 | 2019 | RI | B7 | 4830 - Major overhaul (720 hrs or longer) (use for non-specific overhaul only; see page B-1) | 2019-01-01 | 2019-03-19 07:00 | 1854 | 1
4921705 | 2019 | RI | B10 | 4550 - Generator bearings and lube oil system (including thrust bearings on hydro units) | 2019-01-14 16:47 | 2019-03-04 17:50 | 1177 | 0
4921724 | 2019 | RI | B8 | 4840 - Inspection E | 2019-02-20 20:20 | 2019-02-21 14:55 | 19 | 0
4921731 | 2019 | RI | U8 | 4620 - Air cooling system | 2019-03-15 07:10 | 2019-03-15 14:37 | 7 | 0
4931499 | 2019 | RI | U1 | 4620 - Air cooling system | 2019-03-20 07:10 | 2019-03-20 15:51 | 9 | 0
4931501 | 2019 | RI | U2 | 4620 - Air cooling system | 2019-03-21 07:10 | 2019-03-21 15:02 | 8 | 0
4931521 | 2019 | RI | B9 | 4750 - Other generator controls and metering problems | 2019-03-28 02:11 | 2019-03-28 11:12 | 9 | 0
5054501 | 2019 | RI | U8 | 3813 - Service water heat exchangers | 2019-05-15 18:35 | 2019-05-16 17:04 | 22 | 0
5054495 | 2019 | RI | U3 | 4605 - Exciter transformer | 2019-05-20 19:03 | 2019-05-21 13:08 | 18 | 0
5055803 | 2019 | RI | U6 | 4605 - Exciter transformer | 2019-06-24 03:07 | 2019-06-25 23:59 | 45 | 0
5206165 | 2019 | RI | B6 | 7001 - Shaft packing | 2019-07-26 11:57 | 2019-08-23 15:59 | 676 | 0
5207241 | 2019 | RI | U5 | 4620 - Air cooling system | 2019-09-19 15:56 | 2019-09-30 06:28 | 255 | 0
5375578 | 2019 | RI | B6 | 7190 - Dewatering and rewatering equipment | 2019-11-25 06:05 | 2019-11-25 15:38 | 10 | 0
5375595 | 2019 | RI | B8 | 7190 - Dewatering and rewatering equipment | 2019-11-25 07:12 | 2019-11-25 15:39 | 8 | 0
5376133 | 2019 | RI | U6 | 7099 - Other turbine problems | 2019-12-23 20:10 | 2019-12-24 09:19 | 13 | 0
5376134 | 2019 | RI | U6 | 7099 - Other turbine problems | 2019-12-24 09:46 | 2019-12-30 11:10 | 145 | 0
5529899 | 2020 | RI | U5 | 7053 - Governor Oil System | 2020-02-17 19:39 | 2020-02-18 11:25 | 16 | 0
5530624 | 2020 | RI | B9 | 4550 - Generator bearings and lube oil system (including thrust bearings on hydro units) | 2020-03-02 03:35 | 2020-03-02 11:14 | 8 | 0
5536629 | 2020 | RI | U3 | 7142 - Wicket gate shear pin | 2020-03-10 02:55 | 2020-03-10 08:59 | 6 | 0
5642257 | 2020 | RI | B4 | 9015 - Pandemic | 2020-03-23 15:30 | 2020-04-30 06:00 | 902 | 0
5642263 | 2020 | RI | B5 | 9015 - Pandemic | 2020-03-23 15:30 | 2020-04-30 06:00 | 902 | 0
5642267 | 2020 | RI | B7 | 9015 - Pandemic | 2020-03-23 15:30 | 2020-04-30 06:00 | 902 | 0
5642272 | 2020 | RI | B10 | 9015 - Pandemic | 2020-03-23 15:30 | 2020-04-30 06:00 | 902 | 0
5538247 | 2020 | RI | U6 | 7099 - Other turbine problems | 2020-03-25 21:44 | 2020-03-26 09:43 | 12 | 0
5623579 | 2020 | RI | U6 | 4620 - Air cooling system | 2020-04-16 13:27 | 2020-04-17 13:27 | 24 | 0
5621872 | 2020 | RI | U6 | 7099 - Other turbine problems | 2020-05-21 20:13 | 2020-05-22 07:38 | 11 | 0
5621873 | 2020 | RI | U6 | 7099 - Other turbine problems | 2020-05-26 07:07 | 2020-05-29 09:32 | 74 | 0
5672747 | 2020 | RI | U2 | 7142 - Wicket gate shear pin | 2020-07-11 06:52 | 2020-07-11 15:56 | 9 | 0
5678106 | 2020 | RI | B6 | 7141 - Wicket gate operating mechanism or positioner | 2020-07-17 07:28 | 2020-07-17 14:26 | 7 | 0
5769170 | 2020 | RI | U2 | 7053 - Governor Oil System | 2020-08-02 11:12 | 2020-08-03 01:05 | 14 | 0
5766461 | 2020 | RI | B8 | 4609 - Other exciter problems | 2020-08-10 14:52 | 2020-08-12 16:19 | 49 | 0
5950798 | 2020 | RI | B8 | 7053 - Governor Oil System | 2020-11-12 23:55 | 2020-11-13 09:48 | 10 | 0
5952760 | 2020 | RI | U1 | 7142 - Wicket gate shear pin | 2020-12-23 22:27 | 2020-12-24 08:42 | 10 | 0
6124392 | 2021 | RI | U4 | 4810 - Generator output breaker | 2021-03-09 16:34 | 2021-03-10 07:44 | 15 | 0
6184639 | 2021 | RI | B9 | 4550 - Generator bearings and lube oil system (including thrust bearings on hydro units) | 2021-04-23 20:30 | 2021-04-24 07:25 | 11 | 0
6252634 | 2021 | RI | U8 | 7052 - Other turbine control problems (Report specific wicket gate controls; etc. using the code for the appropriate equipment item.) | 2021-06-17 17:59 | 2021-06-18 14:36 | 21 | 0
6402006 | 2021 | RI | B8 | 4609 - Other exciter problems | 2021-07-07 13:13 | 2021-07-07 18:36 | 5 | 0
6402009 | 2021 | RI | B8 | 4750 - Other generator controls and metering problems | 2021-07-07 20:04 | 2021-07-08 14:06 | 18 | 0
6407040 | 2021 | RI | B9 | 4560 - Generator vibration (excluding vibration due to failed bearing and other components) | 2021-09-10 01:20 | 2021-09-10 10:07 | 9 | 0
6407054 | 2021 | RI | B9 | 4560 - Generator vibration (excluding vibration due to failed bearing and other components) | 2021-09-17 18:43 | 2021-09-21 14:17 | 92 | 0
6585998 | 2021 | RI | B4 | 4842 - Reactive and capability testing | 2021-10-19 11:10 | 2021-10-19 16:35 | 5 | 0
6862187 | 2022 | RI | U2 | 7053 - Governor Oil System | 2022-01-08 04:16 | 2022-01-08 13:28 | 9 | 0
6862190 | 2022 | RI | B4 | 4609 - Other exciter problems | 2022-01-09 06:17 | 2022-01-12 16:22 | 82 | 0
6780116 | 2022 | RI | U2 | 7053 - Governor Oil System | 2022-01-12 07:08 | 2022-01-12 13:56 | 7 | 0
6780173 | 2022 | RI | B8 | 4700 - Generator voltage control | 2022-03-06 18:21 | 2022-03-07 08:02 | 14 | 0
6939185 | 2022 | RI | U7 | 4700 - Generator voltage control | 2022-04-14 01:06 | 2022-04-14 10:11 | 9 | 0
7092303 | 2022 | RI | U6 | 4550 - Generator bearings and lube oil system (including thrust bearings on hydro units) | 2022-07-23 22:06 | 2022-07-24 09:51 | 12 | 0
7327568 | 2022 | RI | B4 | 7050 - Turbine governor | 2022-10-12 07:06 | 2022-10-13 13:52 | 31 | 0
7327613 | 2022 | RI | B5 | 7052 - Other turbine control problems (Report specific wicket gate controls; etc. using the code for the appropriate equipment item.) | 2022-10-12 16:00 | 2022-12-08 17:30 | 1370 | 0
7327630 | 2022 | RI | B10 | 4550 - Generator bearings and lube oil system (including thrust bearings on hydro units) | 2022-12-27 03:37 | 2022-12-27 08:45 | 5 | 0
7514123 | 2023 | RI | U1 | 7099 - Other turbine problems | 2023-03-02 11:35 | 2023-03-03 08:06 | 21 | 0
7514128 | 2023 | RI | B8 | 4750 - Other generator controls and metering problems | 2023-03-12 19:33 | 2023-03-13 10:55 | 15 | 0
8022838 | 2023 | RI | B8 | 4750 - Other generator controls and metering problems | 2023-12-15 01:26 | 2023-12-15 07:16 | 6 | 0
7514103 | 2023 | RI | B10 | 4750 - Other generator controls and metering problems | 2023-02-09 18:00 | 2023-02-13 13:15 | 91 | 0
8212968 | 2024 | RI | U1 | 4609 - Other exciter problems | 2024-04-23 07:07 | 2024-06-05 16:27 | 1041 | 0
8286487 | 2024 | RI | U3 | 7142 - Wicket gate shear pin | 2024-09-01 05:18 | 2024-09-01 12:47 | 7 | 0
8212847 | 2024 | RI | U6 | 4511 - Rotor; General | 2024-01-03 09:00 | 2024-01-18 17:00 | 368 | 0
8634411 | 2024 | RI | U7 | 4609 - Other exciter problems | 2024-10-28 13:53 | 2024-10-29 15:24 | 26 | 0
8286489 | 2024 | RI | B5 | 4550 - Generator bearings and lube oil system (including thrust bearing | 2024-08-08 12:15 | 2024-08-19 14:09 | 266 | 0
8212866 | 2024 | RI | B6 | 4730 - Generator current and potential transformers | 2024-02-08 12:00 | 2024-02-08 17:37 | 6 | 0
8212917 | 2024 | RI | B10 | 4630 - Liquid cooling system | 2024-03-15 11:14 | 2024-03-17 22:29 | 59 | 0