## Disclaimer
Disclaimer of completeness and accuracy of data provided to evaluate slice product
The data contained in this workbook was provided by the US Army Corps of Engineers to the Pacific Northwest Utilities Conference Committee (PNUCC).
Chelan PUD disclaims any warranty or representation that this information is completely accurate. If you have any questions, please call Janet Jaspers: janet.jaspers@chelanpud.org or Mike Bradshaw: mike.bradshaw@chelanpud.org

## Read Me
This data is an estimate of the projects generation assuming a repeat of natural flows from 1928-1998, assuming current day local and regional non-power constraints. The data is in average megawatts for the periods shown. Note that Apr and Aug are split into two half-months

## Rocky_Reach
PNUCC | 2009 | [5 empty] | Rocky Reach | [7 empty] | CENPD- | ET-WP
[6 empty] | Regulated Power Generation - MW | [8 empty] | 12/10/ | 8
YEAR | AG1 | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | AP1 | APR | MAY | JUN | JUL | AVE | YEAR
28-29 | 680 | 707 | 482 | 490 | 594 | 572 | 687 | 451 | 415 | 414 | 420 | 478 | 668 | 678 | 553 | 28-29
29-30 | 626 | 636 | 480 | 504 | 667 | 552 | 494 | 479 | 478 | 476 | 468 | 362 | 812 | 695 | 552 | 29-30
30-31 | 691 | 670 | 476 | 485 | 652 | 605 | 467 | 447 | 450 | 449 | 461 | 434 | 844 | 728 | 561 | 30-31
31-32 | 747 | 693 | 531 | 504 | 628 | 518 | 446 | 448 | 442 | 710 | 958 | 806 | 905 | 844 | 636 | 31-32
32-33 | 709 | 726 | 516 | 586 | 558 | 654 | 1047 | 737 | 481 | 679 | 875 | 951 | 985 | 1154 | 764 | 32-33
33-34 | 897 | 882 | 542 | 619 | 794 | 1046 | 1215 | 906 | 873 | 1012 | 1175 | 957 | 982 | 766 | 891 | 33-34
34-35 | 694 | 687 | 474 | 485 | 555 | 617 | 953 | 593 | 492 | 544 | 888 | 807 | 839 | 944 | 682 | 34-35
35-36 | 905 | 693 | 496 | 545 | 646 | 595 | 672 | 446 | 454 | 455 | 478 | 861 | 891 | 719 | 633 | 35-36
36-37 | 695 | 685 | 451 | 487 | 655 | 611 | 527 | 446 | 446 | 448 | 445 | 348 | 669 | 691 | 540 | 36-37
37-38 | 712 | 704 | 510 | 496 | 578 | 558 | 762 | 551 | 681 | 702 | 1097 | 871 | 811 | 825 | 689 | 37-38
38-39 | 653 | 646 | 449 | 511 | 597 | 546 | 580 | 415 | 416 | 597 | 949 | 812 | 832 | 652 | 604 | 38-39
39-40 | 703 | 684 | 467 | 503 | 646 | 598 | 528 | 449 | 445 | 680 | 946 | 627 | 748 | 743 | 605 | 39-40
40-41 | 658 | 668 | 462 | 495 | 590 | 587 | 501 | 457 | 461 | 435 | 557 | 575 | 779 | 603 | 556 | 40-41
41-42 | 564 | 595 | 437 | 460 | 532 | 825 | 841 | 717 | 618 | 375 | 939 | 669 | 777 | 701 | 651 | 41-42
42-43 | 688 | 671 | 441 | 543 | 541 | 543 | 732 | 711 | 646 | 945 | 1153 | 802 | 844 | 1064 | 716 | 42-43
43-44 | 787 | 661 | 413 | 475 | 568 | 551 | 699 | 442 | 424 | 410 | 475 | 544 | 682 | 533 | 542 | 43-44
44-45 | 617 | 634 | 473 | 506 | 627 | 562 | 437 | 440 | 443 | 442 | 437 | 459 | 827 | 684 | 544 | 44-45
45-46 | 676 | 686 | 453 | 457 | 560 | 602 | 819 | 576 | 548 | 753 | 1069 | 953 | 1026 | 879 | 706 | 45-46
46-47 | 795 | 664 | 497 | 469 | 515 | 759 | 1033 | 767 | 585 | 831 | 983 | 886 | 874 | 852 | 739 | 46-47
47-48 | 702 | 627 | 448 | 806 | 669 | 758 | 1109 | 834 | 532 | 610 | 975 | 1108 | 1242 | 887 | 821 | 47-48
48-49 | 881 | 883 | 559 | 521 | 581 | 555 | 663 | 630 | 705 | 741 | 1151 | 762 | 961 | 675 | 703 | 48-49
49-50 | 653 | 507 | 439 | 471 | 583 | 550 | 954 | 747 | 734 | 787 | 928 | 929 | 1221 | 1022 | 757 | 49-50
50-51 | 855 | 809 | 538 | 579 | 658 | 888 | 1187 | 894 | 659 | 958 | 1078 | 951 | 1027 | 989 | 852 | 50-51
51-52 | 896 | 711 | 524 | 709 | 569 | 746 | 938 | 550 | 615 | 758 | 975 | 961 | 902 | 830 | 752 | 51-52
52-53 | 750 | 644 | 436 | 524 | 613 | 585 | 657 | 762 | 642 | 514 | 787 | 963 | 868 | 836 | 686 | 52-53
53-54 | 762 | 643 | 500 | 562 | 592 | 686 | 1067 | 889 | 580 | 588 | 842 | 929 | 1227 | 1151 | 800 | 53-54
54-55 | 925 | 971 | 837 | 594 | 651 | 772 | 939 | 575 | 467 | 646 | 747 | 762 | 998 | 1066 | 777 | 54-55
55-56 | 871 | 745 | 511 | 622 | 649 | 828 | 1175 | 770 | 661 | 873 | 1234 | 1121 | 1227 | 998 | 869 | 55-56
56-57 | 786 | 680 | 512 | 550 | 524 | 696 | 914 | 617 | 488 | 757 | 802 | 1002 | 1044 | 706 | 715 | 56-57
57-58 | 676 | 635 | 440 | 466 | 567 | 521 | 910 | 732 | 560 | 742 | 912 | 811 | 971 | 680 | 678 | 57-58
58-59 | 668 | 653 | 444 | 531 | 531 | 767 | 1203 | 887 | 584 | 869 | 982 | 1073 | 1049 | 974 | 802 | 58-59
59-60 | 892 | 707 | 781 | 754 | 770 | 867 | 869 | 612 | 678 | 1223 | 1021 | 643 | 938 | 939 | 814 | 59-60
60-61 | 825 | 634 | 483 | 579 | 580 | 664 | 1040 | 943 | 655 | 816 | 818 | 1024 | 1222 | 749 | 789 | 60-61
61-62 | 696 | 710 | 452 | 497 | 607 | 549 | 917 | 566 | 479 | 798 | 1136 | 851 | 676 | 767 | 670 | 61-62
62-63 | 723 | 690 | 462 | 578 | 598 | 816 | 773 | 729 | 595 | 825 | 921 | 655 | 722 | 812 | 693 | 62-63
63-64 | 742 | 700 | 535 | 527 | 606 | 599 | 959 | 602 | 468 | 651 | 742 | 874 | 1018 | 1102 | 726 | 63-64
64-65 | 877 | 704 | 549 | 673 | 590 | 774 | 1114 | 683 | 645 | 719 | 1143 | 805 | 951 | 846 | 780 | 64-65
65-66 | 856 | 919 | 477 | 564 | 557 | 700 | 856 | 526 | 466 | 1034 | 923 | 575 | 937 | 945 | 707 | 65-66
66-67 | 868 | 687 | 498 | 573 | 604 | 639 | 1110 | 982 | 631 | 638 | 766 | 701 | 1232 | 1040 | 789 | 66-67
67-68 | 919 | 727 | 545 | 535 | 555 | 697 | 805 | 663 | 720 | 708 | 864 | 606 | 939 | 1032 | 726 | 67-68
68-69 | 890 | 750 | 630 | 692 | 631 | 771 | 1115 | 724 | 621 | 1050 | 1219 | 926 | 1120 | 828 | 835 | 68-69
69-70 | 686 | 642 | 439 | 512 | 617 | 569 | 704 | 660 | 673 | 441 | 672 | 665 | 907 | 620 | 632 | 69-70
70-71 | 640 | 632 | 401 | 466 | 532 | 526 | 1086 | 907 | 808 | 723 | 964 | 977 | 1194 | 983 | 779 | 70-71
71-72 | 882 | 871 | 545 | 505 | 488 | 684 | 1058 | 961 | 1027 | 1012 | 736 | 1041 | 1242 | 1203 | 876 | 71-72
72-73 | 989 | 989 | 606 | 558 | 554 | 601 | 522 | 437 | 430 | 471 | 603 | 540 | 845 | 709 | 612 | 72-73
73-74 | 636 | 561 | 450 | 464 | 402 | 763 | 1220 | 1005 | 839 | 912 | 1121 | 1031 | 1242 | 1242 | 856 | 73-74
74-75 | 838 | 901 | 545 | 430 | 555 | 598 | 743 | 558 | 699 | 551 | 816 | 936 | 1093 | 843 | 714 | 74-75
75-76 | 740 | 619 | 473 | 639 | 677 | 927 | 1138 | 731 | 577 | 939 | 1015 | 920 | 915 | 1206 | 823 | 75-76
76-77 | 1091 | 1136 | 929 | 545 | 585 | 573 | 729 | 423 | 436 | 481 | 605 | 557 | 691 | 613 | 646 | 76-77
77-78 | 705 | 679 | 477 | 481 | 543 | 413 | 535 | 394 | 575 | 923 | 938 | 761 | 819 | 890 | 627 | 77-78
78-79 | 777 | 650 | 680 | 607 | 599 | 574 | 497 | 467 | 499 | 520 | 669 | 725 | 809 | 693 | 622 | 78-79
79-80 | 658 | 678 | 460 | 484 | 631 | 556 | 623 | 532 | 631 | 435 | 1001 | 917 | 810 | 676 | 643 | 79-80
80-81 | 658 | 619 | 423 | 553 | 584 | 785 | 1185 | 826 | 634 | 594 | 856 | 915 | 842 | 945 | 755 | 80-81
81-82 | 922 | 898 | 558 | 525 | 587 | 736 | 936 | 831 | 790 | 803 | 913 | 911 | 1095 | 1065 | 817 | 81-82
82-83 | 861 | 895 | 672 | 592 | 532 | 730 | 980 | 684 | 823 | 763 | 1000 | 878 | 746 | 914 | 777 | 82-83
83-84 | 855 | 809 | 529 | 506 | 705 | 668 | 854 | 592 | 703 | 768 | 964 | 759 | 1062 | 691 | 731 | 83-84
84-85 | 819 | 652 | 471 | 521 | 496 | 604 | 724 | 514 | 606 | 358 | 945 | 734 | 830 | 698 | 633 | 84-85
85-86 | 622 | 624 | 398 | 437 | 594 | 678 | 852 | 594 | 850 | 987 | 915 | 690 | 699 | 772 | 679 | 85-86
86-87 | 727 | 667 | 403 | 459 | 534 | 595 | 671 | 416 | 531 | 566 | 658 | 806 | 948 | 708 | 617 | 86-87
87-88 | 611 | 575 | 474 | 504 | 644 | 572 | 435 | 433 | 430 | 427 | 608 | 561 | 737 | 745 | 554 | 87-88
88-89 | 734 | 727 | 490 | 504 | 597 | 580 | 589 | 588 | 411 | 388 | 921 | 741 | 779 | 694 | 613 | 88-89
89-90 | 635 | 594 | 439 | 520 | 618 | 784 | 1129 | 751 | 619 | 886 | 1221 | 915 | 863 | 908 | 768 | 89-90
90-91 | 858 | 703 | 503 | 445 | 723 | 837 | 1121 | 913 | 675 | 757 | 961 | 866 | 997 | 1102 | 818 | 90-91
91-92 | 923 | 933 | 504 | 521 | 615 | 529 | 513 | 423 | 469 | 500 | 623 | 662 | 885 | 693 | 609 | 91-92
92-93 | 616 | 613 | 494 | 526 | 641 | 600 | 485 | 440 | 438 | 456 | 721 | 629 | 676 | 672 | 568 | 92-93
93-94 | 681 | 647 | 431 | 513 | 674 | 609 | 515 | 528 | 438 | 427 | 852 | 661 | 870 | 713 | 605 | 93-94
94-95 | 653 | 616 | 500 | 510 | 615 | 592 | 492 | 552 | 774 | 769 | 788 | 681 | 813 | 738 | 640 | 94-95
95-96 | 668 | 647 | 517 | 598 | 769 | 1125 | 1193 | 1014 | 808 | 950 | 1235 | 931 | 985 | 1114 | 900 | 95-96
96-97 | 885 | 780 | 521 | 577 | 559 | 701 | 1187 | 937 | 864 | 862 | 1156 | 1196 | 1242 | 1156 | 899 | 96-97
97-98 | 849 | 883 | 666 | 794 | 663 | 760 | 923 | 624 | 691 | 823 | 921 | 755 | 908 | 717 | 771 | 97-98
AVE. | 763 | 713 | 509 | 540 | 601 | 665 | 833 | 644 | 596 | 687 | 873 | 794 | 926 | 847 | 707 | AVE.
MED. | 741 | 685 | 492 | 521 | 597 | 614 | 855 | 614 | 600 | 714 | 921 | 809 | 906 | 829